## Sheet 1
FulfillmentPartnerCode | Manufacturer | Primary SKU | IsPrimary | VisibleOnStoreFront | SKU | ManufacturerPartNumber | UPC | Part # | Variants | Product Name | Description | Category | Product Image | Variant Image | ProductPDF | Inventory | ListPrice | SellingPriceAnonymous | Cost | Unpublish | ShippingGroup | LeadTime | DisplayOrder | Prop65Text | IsWoodDoorProduct | CB Store | HC Store | Weight | Height | Length | Width | Attribute_Hardware Finish | Attribute_Color | Attribute_Function | Attribute_Application | Attribute_Duty Weight/Class | Attribute_Type | Attribute_Device Type | Attribute_Action | Attribute_Additional Information | Attribute_Anchors | Attribute_Arm Type | Attribute_Cylinder Type | Attribute_ADA Compliant | Attribute_NDAA Compliant | Attribute_BAA Compliant | Attribute_Country of Origin | Attribute_Back Check | Attribute_Backset | Attribute_Battery | Attribute_Bearing Type | Attribute_Bolt | Attribute_Bolt Throw Length | Attribute_Through Bolts | Attribute_Burglar Rated | Attribute_Button Illumination | Attribute_Button Text | Attribute_Buzzer Frequency | Attribute_Closer Reinforcement | Attribute_Closer Size | Attribute_Cold Weather Fluid | Attribute_Communication | Attribute_Configuration/Connectors | Attribute_Core | Attribute_Corner Type | Attribute_Cover | Attribute_Degree Hold Open | Attribute_Degree Swing | Attribute_Delay | Attribute_Design | Attribute_Direction of Swing | Attribute_Dogging Options | Attribute_Door Gap | Attribute_Door/Frame Finish | Attribute_Veneer | Attribute_Door Height | Attribute_Door Width | Attribute_Door Thickness | Attribute_Door Material | Attribute_Edges | Attribute_Galvanized | Attribute_Max. Door Width | Attribute_Max. Door Weight | Attribute_Doors | Attribute_Dust Box | Attribute_Dynamic Strength | Attribute_Static Strength | Attribute_Face Shape | Attribute_Faceplate Depth | Attribute_Faceplate Height | Attribute_Faceplate Width | Attribute_Faceplate Size | Attribute_Failure Mode | Attribute_Frame Application | Attribute_Frame Height | Attribute_Frame Width | Attribute_Frame Head | Attribute_Frame Opening | Attribute_Frame Type | Attribute_Welded Frame | Attribute_Gauge | Attribute_Grade | Attribute_Hand | Attribute_Handle Type | Attribute_Lever/Knob Design | Attribute_Hinge Prep | Attribute_Hinge Type | Attribute_Knuckles | Attribute_Tip Style | Attribute_Pin Type | Attribute_Pivot Type | Attribute_Hold Open | Attribute_Holding Force | Attribute_Includes | Attribute_Trim | Attribute_Insert | Attribute_Jamb Depth/Wall | Attribute_Keeper Size | Attribute_Keypad Type | Attribute_Keying | Attribute_Keys | Attribute_Cylinder | Attribute_Keyway | Attribute_Number of Pins | Attribute_Latch Number | Attribute_Latch Type | Attribute_Lights | Attribute_Lock Chassis | Attribute_Lock Face Size | Attribute_Lock Prep | Attribute_Magnet | Attribute_Manufacturer Hinge and Strike Locations | Attribute_Material | Attribute_Mounting Location | Attribute_Mounting Style | Attribute_Operating Temperature | Attribute_Pre Load | Attribute_Prefinished | Attribute_Prefit & Premachined | Attribute_Programmer/Programming | Attribute_Reader Technology | Attribute_Relay | Attribute_Reveal | Attribute_Reversible | Attribute_Rose/Escutcheon Size | Attribute_Rose/Escutcheon Design | Attribute_Fasteners | Attribute_Screws | Attribute_Series | Attribute_Projection | Attribute_Armature Size | Attribute_Size | Attribute_Metric Size | Attribute_Device Length | Attribute_Depth | Attribute_Length | Attribute_Width | Attribute_Height | Attribute_Capacity | Attribute_Thickness | Attribute_Weight | Attribute_Software | Attribute_Rust Inhibitor | Attribute_Standards | Attribute_Fire Rated | Attribute_Rated Opening Compliant | Attribute_Stiles | Attribute_Stop | Attribute_Strike | Attribute_Strike Type | Attribute_Strike Size | Attribute_Strike Height | Attribute_Strike Width | Attribute_Strike Number | Attribute_Strike Standard | Attribute_Strike Bottom | Attribute_Strike Top | Attribute_Thumbturn | Attribute_Switch Type | Attribute_Range | Attribute_Sold in Pack Size | Attribute_MOQ | Attribute_Unit of Measure | Attribute_Use With | Attribute_Number of Users | Attribute_Door Release | Attribute_Power | Attribute_Power Transfer/Wires | Attribute_Electric Options | Attribute_Current Draw | Attribute_Current Rating | Attribute_Input Current | Attribute_Output Current | Attribute_Electrical Rating | Attribute_Operating Voltage | Attribute_Voltage | Attribute_Input Voltage | Attribute_Output Voltage | Attribute_Voltage Rating | Attribute_Contact Rating | Attribute_Volts/Amps | Attribute_Amp Draw | Attribute_Frequency | Attribute_Contact Type | Attribute_Number of Gang | Attribute_Wire Required | Attribute_Alarm/Siren | Attribute_Audio | Attribute_Resolution | Attribute_Frame Rate | Attribute_Video Compression | Attribute_Video Stream | Attribute_Memory | Attribute_Lens | Attribute_Ports | Attribute_Warranty
ASSA-AlarmControls | Alarm Controls | ALA DOUBLE | TRUE | TRUE | 1200D | 1200D |  |  | Attribute_Holding Force;Attribute_Includes | Alarm Controls Double Door Maglock | Double door configuration magnetic lock. Built-in arc suppression. Instant release, no hysteresis. Self-drilling TEC screws. Non-aluminum parts are plated to resist corrosion. E-Z mount header bracket and template provided for easy installation, no special tools required. Can be used with any access control system. Optional bond sensor and door status sensors plus bi-color LEDs signal a powered and securely locked door. | Category Name: Electronic Door Hardware,Category Path:/door-hardware/electronic-door-hardware/¦Category Name: Maglocks,Category Path:/door-hardware/electronic-door-hardware/maglock/¦Category Name: Door Hardware,Category Path:/door-hardware/ | https://cdn11.bigcommerce.com/s-y7rgqxv8v9/products/1449/images/7478/28266__44784.1646378788.1280.1280.png?c=1 | https://cdn11.bigcommerce.com/s-y7rgqxv8v9/products/1449/images/7479/28266__64945.1646378788.1280.1280.png?c=1 | https://cbdigitaletl-prod.s3.amazonaws.com/products-pdf/28266_10_AlarmControll1200.pdf;https://cbdigitaletl-prod.s3.amazonaws.com/products-pdf/28266_11_AC_MagneticLock_ComparisonChart.pdf;https://cbdigitaletl-prod.s3.amazonaws.com/products-pdf/28266_12_AC_600DLB_1200LB_1200D_Electromagnetic_Locks_Installation_Instructions.pdf;https://cbdigitaletl-prod.s3.amazonaws.com/products-pdf/28269_10_AlarmControll600.pdf;https://cbdigitaletl-prod.s3.amazonaws.com/products-pdf/28269_12_AC_600L_600D_1200L_Electromagnetic_Locks_Installation_Instructions.pdf | 10000 | 544 | 353.6 | 225.76 | FALSE | Hardware | 2 | 0 | Nickel | FALSE | TRUE | TRUE | 0 |  |  |  | Satin Aluminum, Clear Anodized 628/US28 |  |  | For Traffic Control in Interior |  |  |  |  | Built-in arc suppresion | [6 empty] | USA | [65 empty] | 1200 lbs. | E-Z mount header bracket and template,LED Status Indicator, Bond Sensor and Door Status Sensor | [21 empty] | 14 to 131 degrees F (-10 to 55 degrees C) | [5 empty] | Bond sensor has SPDT 3A relay contacs per magnet | [5 empty] | Self-drilling TEC screws included | [14 empty] | Non-aluminum parts are plated to resist corrosion | UL 294 Listed, UL10C Fire Rated, CAN/ULC-S104 Fire Door Conformant, UL 864 Listed, ULC-S527 Listed |  | Yes | [15 empty] | 0 | Each | Any access control system |  | Instant Release, No Hysteresis | [7 empty] | 12/24 VDC, 505 mA @ 12 VDC, 260 mA @ 24 VDC |  | 12/24VDC | [19 empty] | Limited Lifetime
ASSA-AlarmControls | Alarm Controls | ALA DOUBLE | FALSE |  | 600D | 600D |  |  | Attribute_Holding Force;Attribute_Includes | Alarm Controls Double Door Maglock | Double door configuration magnetic lock. Built-in arc suppression. Instant release, no hysteresis. Self-drilling TEC screws. Non-aluminum parts are plated to resist corrosion. E-Z mount header bracket and template provided for easy installation, no special tools required. Can be used with any access control system. Optional bond sensor and door status sensors plus bi-color LEDs signal a powered and securely locked door. | Category Name: Electronic Door Hardware,Category Path:/door-hardware/electronic-door-hardware/¦Category Name: Maglocks,Category Path:/door-hardware/electronic-door-hardware/maglock/¦Category Name: Door Hardware,Category Path:/door-hardware/ |  | https://cdn11.bigcommerce.com/s-y7rgqxv8v9/products/1449/images/7480/28269__87329.1646378788.1280.1280.png?c=1 |  | 10000 | 332 | 215.8 | 137.78 | FALSE | Hardware | 2 |  | Nickel | FALSE | TRUE | TRUE | 0 |  |  |  | Satin Aluminum, Clear Anodized 628/US28 |  |  | For Traffic Control in Interior |  |  |  |  | Built-in arc suppresion | [6 empty] | USA | [65 empty] | 600 lbs. | E-Z mount header bracket and template | [21 empty] | 14 to 131 degrees F (-10 to 55 degrees C) | [5 empty] | Bond sensor has SPDT 3A relay contacs per magnet | [5 empty] | Self-drilling TEC screws included | [14 empty] | Non-aluminum parts are plated to resist corrosion | UL 294 Listed, UL10C Fire Rated, CAN/ULC-S104 Fire Door Conformant, UL 864 Listed, ULC-S527 Listed |  | Yes | [15 empty] | 0 | Each | Any access control system |  | Instant Release, No Hysteresis | [7 empty] | 12/24 VDC, 505 mA @ 12 VDC, 260 mA @ 24 VDC |  | 12/24VDC | [19 empty] | Limited Lifetime
SecLockImport | Alarm Controls | ALA DOUBLE | FALSE |  | 600DLB | ALA300600DLB |  |  | Attribute_Holding Force;Attribute_Includes | Alarm Controls Double Door Maglock | Double door configuration magnetic lock. Built-in arc suppression. Instant release, no hysteresis. Self-drilling TEC screws. Non-aluminum parts are plated to resist corrosion. E-Z mount header bracket and template provided for easy installation, no special tools required. Can be used with any access control system. Optional bond sensor and door status sensors plus bi-color LEDs signal a powered and securely locked door. | Category Name: Electronic Door Hardware,Category Path:/door-hardware/electronic-door-hardware/¦Category Name: Maglocks,Category Path:/door-hardware/electronic-door-hardware/maglock/¦Category Name: Door Hardware,Category Path:/door-hardware/ |  | https://cdn11.bigcommerce.com/s-y7rgqxv8v9/products/1449/images/7481/28270__49022.1646378789.1280.1280.png?c=1 |  | 22 | 439 | 355.59 | 237.06 | FALSE | Hardware | 1 |  | Nickel | FALSE | TRUE | TRUE | 0 |  |  |  | Satin Aluminum, Clear Anodized 628/US28 |  |  | For Traffic Control in Interior |  |  |  |  | Built-in arc suppresion | [6 empty] | USA | [65 empty] | 600 lbs. | E-Z mount header bracket and template,LED Status Indicator, Bond Sensor and Door Status Sensor | [21 empty] | 14 to 131 degrees F (-10 to 55 degrees C) | [5 empty] | Bond sensor has SPDT 3A relay contacs per magnet | [5 empty] | Self-drilling TEC screws included | [14 empty] | Non-aluminum parts are plated to resist corrosion | UL 294 Listed, UL10C Fire Rated, CAN/ULC-S104 Fire Door Conformant, UL 864 Listed, ULC-S527 Listed |  | Yes | [15 empty] | 0 | Each | Any access control system |  | Instant Release, No Hysteresis | [7 empty] | 12/24 VDC, 505 mA @ 12 VDC, 260 mA @ 24 VDC |  | 12/24VDC | [19 empty] | Limited Lifetime
ASSA-AlarmControls | Alarm Controls | ALA DOUBLE | FALSE |  | 1200DDURO | 1200DDURO |  |  | Attribute_Holding Force;Attribute_Includes;Attribute_Hardware Finish | Alarm Controls Double Door Maglock | Double door configuration magnetic lock. Built-in arc suppression. Instant release, no hysteresis. Self-drilling TEC screws. Non-aluminum parts are plated to resist corrosion. E-Z mount header bracket and template provided for easy installation, no special tools required. Can be used with any access control system. Optional bond sensor and door status sensors plus bi-color LEDs signal a powered and securely locked door. | Category Name: Electronic Door Hardware,Category Path:/door-hardware/electronic-door-hardware/¦Category Name: Maglocks,Category Path:/door-hardware/electronic-door-hardware/maglock/¦Category Name: Door Hardware,Category Path:/door-hardware/ |  | https://cdn11.bigcommerce.com/s-y7rgqxv8v9/products/1449/images/190882/ala_1200dduro__86608.1679434093.1280.1280.jpg?c=1 |  | 10000 | 631 | 410.15 | 261.865 | FALSE | Hardware | 2 |  | Nickel | FALSE | TRUE | TRUE | 0 |  |  |  | Duranotic, US40 |  |  | For Traffic Control in Interior |  |  |  |  | Built-in arc suppresion | [6 empty] | USA | [65 empty] | 1200 lbs. | E-Z mount header bracket and template | [21 empty] | 14 to 131 degrees F (-10 to 55 degrees C) | [5 empty] | Bond sensor has SPDT 3A relay contacs per magnet | [5 empty] | Self-drilling TEC screws included | [14 empty] | Non-aluminum parts are plated to resist corrosion | UL 294 Listed, UL10C Fire Rated, CAN/ULC-S104 Fire Door Conformant, UL 864 Listed, ULC-S527 Listed |  | Yes | [15 empty] | 0 | Each | Any access control system |  | Instant Release, No Hysteresis | [7 empty] | 12/24 VDC, 505 mA @ 12 VDC, 260 mA @ 24 VDC |  | 12/24VDC | [19 empty] | Limited Lifetime
ASSA-AlarmControls | Alarm Controls | ALA DOUBLE | FALSE |  | 600DDURO | 600DDURO |  |  | Attribute_Holding Force;Attribute_Includes;Attribute_Hardware Finish | Alarm Controls Double Door Maglock | Double door configuration magnetic lock. Built-in arc suppression. Instant release, no hysteresis. Self-drilling TEC screws. Non-aluminum parts are plated to resist corrosion. E-Z mount header bracket and template provided for easy installation, no special tools required. Can be used with any access control system. Optional bond sensor and door status sensors plus bi-color LEDs signal a powered and securely locked door. | Category Name: Electronic Door Hardware,Category Path:/door-hardware/electronic-door-hardware/¦Category Name: Maglocks,Category Path:/door-hardware/electronic-door-hardware/maglock/¦Category Name: Door Hardware,Category Path:/door-hardware/ |  | https://cdn11.bigcommerce.com/s-y7rgqxv8v9/products/1449/images/190883/ala_1200dduro__06290.1679434093.1280.1280.jpg?c=1 |  | 10000 | 410 | 266.5 | 170.15 | FALSE | Hardware | 2 |  | Nickel | FALSE | TRUE | TRUE | 0 |  |  |  | Duranotic, US40 |  |  | For Traffic Control in Interior |  |  |  |  | Built-in arc suppresion | [6 empty] | USA | [65 empty] | 600 lbs. | E-Z mount header bracket and template | [21 empty] | 14 to 131 degrees F (-10 to 55 degrees C) | [5 empty] | Bond sensor has SPDT 3A relay contacs per magnet | [5 empty] | Self-drilling TEC screws included | [14 empty] | Non-aluminum parts are plated to resist corrosion | UL 294 Listed, UL10C Fire Rated, CAN/ULC-S104 Fire Door Conformant, UL 864 Listed, ULC-S527 Listed |  | Yes | [15 empty] | 0 | Each | Any access control system |  | Instant Release, No Hysteresis | [7 empty] | 12/24 VDC, 505 mA @ 12 VDC, 260 mA @ 24 VDC |  | 12/24VDC | [19 empty] | Limited Lifetime
ASSA-AlarmControls | Alarm Controls | ALA SINGLE | TRUE | TRUE | 1200LB | 1200LB |  |  | Attribute_Holding Force;Attribute_Includes | Alarm Controls Single Door Maglock | Single door configuration magnetic lock. Built-in arc suppression. Instant release, no hysteresis. Self-drilling TEC screws. Non-aluminum parts are plated to resist corrosion. E-Z mount header bracket and template provided for easy installation, no special tools required. Can be used with any access control system. Optional bond sensor and door status sensors plus bi-color LEDs signal a powered and securely locked door. | Category Name: Electronic Door Hardware,Category Path:/door-hardware/electronic-door-hardware/¦Category Name: Maglocks,Category Path:/door-hardware/electronic-door-hardware/maglock/¦Category Name: Door Hardware,Category Path:/door-hardware/ | https://cdn11.bigcommerce.com/s-y7rgqxv8v9/products/1450/images/7482/28267__84976.1646378832.1280.1280.png?c=1 | https://cdn11.bigcommerce.com/s-y7rgqxv8v9/products/1450/images/7483/28267__11588.1646378832.1280.1280.png?c=1 | https://cbdigitaletl-prod.s3.amazonaws.com/products-pdf/28267_10_AlarmControll1200.pdf;https://cbdigitaletl-prod.s3.amazonaws.com/products-pdf/28267_11_AC_MagneticLock_ComparisonChart.pdf;https://cbdigitaletl-prod.s3.amazonaws.com/products-pdf/28267_12_AC_600DLB_1200LB_1200D_Electromagnetic_Locks_Installation_Instructions.pdf;https://cbdigitaletl-prod.s3.amazonaws.com/products-pdf/28268_12_AC_1200S_Electromagnetic_Locks_Installation_Instructions.pdf;https://cbdigitaletl-prod.s3.amazonaws.com/products-pdf/28271_10_AlarmControll600.pdf;https://cbdigitaletl-prod.s3.amazonaws.com/products-pdf/28271_12_AC_600LB_Electromagnetic_Locks_Installation_Instructions.pdf | 10000 | 394 | 256.1 | 163.51 | FALSE | Hardware | 2 | 0 | Nickel | FALSE | TRUE | TRUE | 0 |  |  |  | Satin Aluminum, Clear Anodized 628/US28 |  |  | For Traffic Control in Interior |  |  |  |  | Built-in arc suppresion | [6 empty] | USA | [65 empty] | 1200 lbs. | E-Z mount header bracket and template,LED Status Indicator, Bond Sensor and Door Status Sensor | [21 empty] | 14 to 131 degrees F (-10 to 55 degrees C) | [5 empty] | Bond sensor has SPDT 3A relay contacs per magnet | [5 empty] | Self-drilling TEC screws included | [14 empty] | Non-aluminum parts are plated to resist corrosion | UL 294 Listed, UL10C Fire Rated, CAN/ULC-S104 Fire Door Conformant, UL 864 Listed, CAN/ULC-S527 Listed |  | Yes | [15 empty] | 0 | Each | Any access control system |  | Instant Release, No Hysteresis | [7 empty] | 12/24 VDC, 505 mA @ 12 VDC, 260 mA @ 24 VDC |  | 12/24VDC | [19 empty] | Limited Lifetime
ASSA-AlarmControls | Alarm Controls | ALA SINGLE | FALSE |  | 1200S | 1200S |  |  | Attribute_Holding Force;Attribute_Includes | Alarm Controls Single Door Maglock | Single door configuration magnetic lock. Built-in arc suppression. Instant release, no hysteresis. Self-drilling TEC screws. Non-aluminum parts are plated to resist corrosion. E-Z mount header bracket and template provided for easy installation, no special tools required. Can be used with any access control system. Optional bond sensor and door status sensors plus bi-color LEDs signal a powered and securely locked door. | Category Name: Electronic Door Hardware,Category Path:/door-hardware/electronic-door-hardware/¦Category Name: Maglocks,Category Path:/door-hardware/electronic-door-hardware/maglock/¦Category Name: Door Hardware,Category Path:/door-hardware/ |  | https://cdn11.bigcommerce.com/s-y7rgqxv8v9/products/1450/images/7484/28268__98723.1646378832.1280.1280.png?c=1 |  | 10000 | 246 | 159.9 | 102.09 | FALSE | Hardware | 2 |  | Nickel | FALSE | TRUE | TRUE | 0 |  |  |  | Satin Aluminum, Clear Anodized 628/US28 |  |  | For Traffic Control in Interior |  |  |  |  | Built-in arc suppresion | [6 empty] | USA | [65 empty] | 1200 lbs. | E-Z mount header bracket and template | [21 empty] | 14 to 131 degrees F (-10 to 55 degrees C) | [5 empty] | Bond sensor has SPDT 3A relay contacs per magnet | [5 empty] | Self-drilling TEC screws included | [14 empty] | Non-aluminum parts are plated to resist corrosion | UL 294 Listed, UL10C Fire Rated, CAN/ULC-S104 Fire Door Conformant, UL 864 Listed, CAN/ULC-S527 Listed |  | Yes | [15 empty] | 0 | Each | Any access control system |  | Instant Release, No Hysteresis | [7 empty] | 12/24 VDC, 505 mA @ 12 VDC, 260 mA @ 24 VDC |  | 12/24VDC | [19 empty] | Limited Lifetime
ASSA-AlarmControls | Alarm Controls | ALA SINGLE | FALSE |  | 600LB | 600LB |  |  | Attribute_Holding Force;Attribute_Includes | Alarm Controls Single Door Maglock | Single door configuration magnetic lock. Built-in arc suppression. Instant release, no hysteresis. Self-drilling TEC screws. Non-aluminum parts are plated to resist corrosion. E-Z mount header bracket and template provided for easy installation, no special tools required. Can be used with any access control system. Optional bond sensor and door status sensors plus bi-color LEDs signal a powered and securely locked door. | Category Name: Electronic Door Hardware,Category Path:/door-hardware/electronic-door-hardware/¦Category Name: Maglocks,Category Path:/door-hardware/electronic-door-hardware/maglock/¦Category Name: Door Hardware,Category Path:/door-hardware/ |  | https://cdn11.bigcommerce.com/s-y7rgqxv8v9/products/1450/images/7485/28271__22906.1646378832.1280.1280.png?c=1 |  | 10000 | 307 | 199.55 | 127.405 | FALSE | Hardware | 2 |  | Nickel | FALSE | TRUE | TRUE | 0 |  |  |  | Satin Aluminum, Clear Anodized 628/US28 |  |  | For Traffic Control in Interior |  |  |  |  | Built-in arc suppresion | [6 empty] | USA | [65 empty] | 600 lbs. | E-Z mount header bracket and template,LED Status Indicator, Bond Sensor and Door Status Sensor | [21 empty] | 14 to 131 degrees F (-10 to 55 degrees C) | [5 empty] | Bond sensor has SPDT 3A relay contacs per magnet | [5 empty] | Self-drilling TEC screws included | [14 empty] | Non-aluminum parts are plated to resist corrosion | UL 294 Listed, UL10C Fire Rated, CAN/ULC-S104 Fire Door Conformant, UL 864 Listed, CAN/ULC-S527 Listed |  | Yes | [15 empty] | 0 | Each | Any access control system |  | Instant Release, No Hysteresis | [7 empty] | 12/24 VDC, 505 mA @ 12 VDC, 260 mA @ 24 VDC |  | 12/24VDC | [19 empty] | Limited Lifetime
ASSA-AlarmControls | Alarm Controls | ALA SINGLE | FALSE |  | 600S | 600S |  |  | Attribute_Holding Force;Attribute_Includes | Alarm Controls Single Door Maglock | Single door configuration magnetic lock. Built-in arc suppression. Instant release, no hysteresis. Self-drilling TEC screws. Non-aluminum parts are plated to resist corrosion. E-Z mount header bracket and template provided for easy installation, no special tools required. Can be used with any access control system. Optional bond sensor and door status sensors plus bi-color LEDs signal a powered and securely locked door. | Category Name: Electronic Door Hardware,Category Path:/door-hardware/electronic-door-hardware/¦Category Name: Maglocks,Category Path:/door-hardware/electronic-door-hardware/maglock/¦Category Name: Door Hardware,Category Path:/door-hardware/ |  | https://cdn11.bigcommerce.com/s-y7rgqxv8v9/products/1450/images/7486/5236__06782.1646378833.1280.1280.png?c=1 |  | 10000 | 199 | 129.35 | 82.585 | FALSE | Hardware | 2 |  | Nickel | FALSE | TRUE | TRUE | 0 |  |  |  | Satin Aluminum, Clear Anodized 628/US28 |  |  | For Traffic Control in Interior |  |  |  |  | Built-in arc suppresion | [6 empty] | USA | [65 empty] | 600 lbs. | E-Z mount header bracket and template | [21 empty] | 14 to 131 degrees F (-10 to 55 degrees C) | [5 empty] | Bond sensor has SPDT 3A relay contacs per magnet | [5 empty] | Self-drilling TEC screws included | [14 empty] | Non-aluminum parts are plated to resist corrosion | UL 294 Listed, UL10C Fire Rated, CAN/ULC-S104 Fire Door Conformant, UL 864 Listed, CAN/ULC-S527 Listed |  | Yes | [15 empty] | 0 | Each | Any access control system |  | Instant Release, No Hysteresis | [7 empty] | 12/24 VDC, 505 mA @ 12 VDC, 260 mA @ 24 VDC |  | 12/24VDC | [19 empty] | Limited Lifetime
ASSA-AlarmControls | Alarm Controls | ALA SINGLE | FALSE |  | 1200SDURO | 1200SDURO |  |  | Attribute_Holding Force;Attribute_Includes;Attribute_Hardware Finish | Alarm Controls Single Door Maglock | Single door configuration magnetic lock. Built-in arc suppression. Instant release, no hysteresis. Self-drilling TEC screws. Non-aluminum parts are plated to resist corrosion. E-Z mount header bracket and template provided for easy installation, no special tools required. Can be used with any access control system. Optional bond sensor and door status sensors plus bi-color LEDs signal a powered and securely locked door. | Category Name: Electronic Door Hardware,Category Path:/door-hardware/electronic-door-hardware/¦Category Name: Maglocks,Category Path:/door-hardware/electronic-door-hardware/maglock/¦Category Name: Door Hardware,Category Path:/door-hardware/ |  | https://cdn11.bigcommerce.com/s-y7rgqxv8v9/products/1450/images/190884/ala3001200sduro__59002.1679434108.1280.1280.jpg?c=1 |  | 10000 | 307 | 199.55 | 127.405 | FALSE | Hardware | 2 |  | Nickel | FALSE | TRUE | TRUE | 0 |  |  |  | Duranotic, US40 |  |  | For Traffic Control in Interior |  |  |  |  | Built-in arc suppresion | [6 empty] | USA | [65 empty] | 1200 lbs. | E-Z mount header bracket and template | [21 empty] | 14 to 131 degrees F (-10 to 55 degrees C) | [5 empty] | Bond sensor has SPDT 3A relay contacs per magnet | [5 empty] | Self-drilling TEC screws included | [14 empty] | Non-aluminum parts are plated to resist corrosion | UL 294 Listed, UL10C Fire Rated, CAN/ULC-S104 Fire Door Conformant, UL 864 Listed, CAN/ULC-S527 Listed |  | Yes | [15 empty] | 0 | Each | Any access control system |  | Instant Release, No Hysteresis | [7 empty] | 12/24 VDC, 505 mA @ 12 VDC, 260 mA @ 24 VDC |  | 12/24VDC | [19 empty] | Limited Lifetime
ASSA-AlarmControls | Alarm Controls | ALA SINGLE | FALSE |  | 600SDURO | 600SDURO |  |  | Attribute_Holding Force;Attribute_Includes;Attribute_Hardware Finish | Alarm Controls Single Door Maglock | Single door configuration magnetic lock. Built-in arc suppression. Instant release, no hysteresis. Self-drilling TEC screws. Non-aluminum parts are plated to resist corrosion. E-Z mount header bracket and template provided for easy installation, no special tools required. Can be used with any access control system. Optional bond sensor and door status sensors plus bi-color LEDs signal a powered and securely locked door. | Category Name: Electronic Door Hardware,Category Path:/door-hardware/electronic-door-hardware/¦Category Name: Maglocks,Category Path:/door-hardware/electronic-door-hardware/maglock/¦Category Name: Door Hardware,Category Path:/door-hardware/ |  | https://cdn11.bigcommerce.com/s-y7rgqxv8v9/products/1450/images/190885/ala_600sduro__60607.1679434108.1280.1280.jpg?c=1 |  | 10000 | 250 | 162.5 | 103.75 | FALSE | Hardware | 2 |  | Nickel | FALSE | TRUE | TRUE | 0 |  |  |  | Duranotic, US40 |  |  | For Traffic Control in Interior |  |  |  |  | Built-in arc suppresion | [6 empty] | USA | [65 empty] | 600 lbs. | E-Z mount header bracket and template | [21 empty] | 14 to 131 degrees F (-10 to 55 degrees C) | [5 empty] | Bond sensor has SPDT 3A relay contacs per magnet | [5 empty] | Self-drilling TEC screws included | [14 empty] | Non-aluminum parts are plated to resist corrosion | UL 294 Listed, UL10C Fire Rated, CAN/ULC-S104 Fire Door Conformant, UL 864 Listed, CAN/ULC-S527 Listed |  | Yes | [15 empty] | 0 | Each | Any access control system |  | Instant Release, No Hysteresis | [7 empty] | 12/24 VDC, 505 mA @ 12 VDC, 260 mA @ 24 VDC |  | 12/24VDC | [19 empty] | Limited Lifetime
SecLockImport | Alarm Controls | x | TRUE | TRUE | AES-100 | ALA300AES100 |  |  |  | Alarm Controls AES-100, Dual-Voltage Electric Strike, Grade 1 | Grade 1 dual-voltage electric strike for heavy-duty applications. For use with cylindrical locksets, mortise latch or mortise exit devices. Mounting kit includes two 4-7/8" stainless steel faceplates (one round corner and one square corner). | Category Name: Electronic Door Hardware,Category Path:/door-hardware/electronic-door-hardware/¦Category Name: Electric Strikes,Category Path:/electronic-door-hardware/electric-strikes/¦Category Name: Door Hardware,Category Path:/door-hardware/ | https://cdn11.bigcommerce.com/s-y7rgqxv8v9/products/1451/images/7487/28272__56172.1646378898.1280.1280.png?c=1 |  | https://cbdigitaletl-prod.s3.amazonaws.com/products-pdf/28272_10_AES-100.pdf;https://cbdigitaletl-prod.s3.amazonaws.com/products-pdf/28272_11_AES-100_1.pdf | 8 | 192 | 155.52 | 103.68 |  | Hardware | 1 | 0 | Nickel | FALSE | TRUE | TRUE | 0 | 0 | 0 | 0 | Satin Stainless Steel 630/US32D |  |  | Heavy Duty | [10 empty] | Yes | Germany | [38 empty] | 70 ft-lb | 1500 lb. | 1 Each Square Corner, Round Corner |  | 4-7/8" |  |  | Field Selectable, Fail Safe/Fail Secure | Aluminum, Hollow Metal or Wood | [7 empty] | Grade 1 | [11 empty] | Electric Strike, Mounting Kit, 2 Faceplates | [18 empty] | Stainless Steel | [30 empty] | BHMA Grade 1, UL 1034 Burglary Resistant Listed, UL Certificate of Compliance (CoC) | [6 empty] | 1-1/2" Depth |  |  | 250000 Cycles | [7 empty] | 0 | Each | Cylindrical Locksets (5/8" and 3/4" throw), Mortise Latch or Mortise Exit Devices | [7 empty] | 130 mA @ 12 VAC, 70 mA @ 24 VAC | [6 empty] | 12/24 VAC/DC
SecLockImport | Alarm Controls | x | TRUE | TRUE | AES-200 | ALA300AES200 |  |  |  | Alarm Controls AES-200, Dual-Voltage Electric Strike, Grade 2 | Grade 2 electric strike for medium-duty applications. For use with cylindrical locksets with latch bolt monitor and buzzer. Mounting kit includes two 4-7/8" stainless steel faceplates (one round corner and one square corner). With latch bolt monitor and buzzer. Adjustable keeper. Built-in buzzer, sounds when voltage is applied | Category Name: Electronic Door Hardware,Category Path:/door-hardware/electronic-door-hardware/¦Category Name: Electric Strikes,Category Path:/electronic-door-hardware/electric-strikes/¦Category Name: Door Hardware,Category Path:/door-hardware/ | https://cdn11.bigcommerce.com/s-y7rgqxv8v9/products/1452/images/7488/28273__42630.1646378925.1280.1280.png?c=1 |  | https://cbdigitaletl-prod.s3.amazonaws.com/products-pdf/28273_10_AES-100.pdf;https://cbdigitaletl-prod.s3.amazonaws.com/products-pdf/28273_11_AES-200_1.pdf | 3 | 236 | 191.16 | 127.44 |  | Hardware | 1 | 0 | Nickel | FALSE | TRUE | TRUE | 0 | 0 | 0 | 0 | Satin Stainless Steel 630/US32D |  |  | Heavy Duty | [10 empty] | Yes | Germany | [38 empty] | 70 ft-lb | 1000 lb. | 1 Each Square Corner, Round Corner |  | 4-7/8" |  |  | Field Selectable, Fail Safe/Fail Secure | Aluminum, Hollow Metal or Wood | [7 empty] | Grade 2 | [11 empty] | Electric Strike, Mounting Kit, 2 Faceplates | [18 empty] | Stainless Steel | [30 empty] | BHMA Grade 2, UL Certificate of Compliance (CoC) | [6 empty] | 1-1/2" Depth | [10 empty] | 0 | Each | Cylindrical Locksets (5/8" and 3/4" throw) with Latchbolt Monitor and Buzzer | [7 empty] | 1 mA @ 12 VAC/DC, 70 mA @ 24 VAC/DC | [6 empty] | 12/24 VAC/DC
ASSA-AlarmControls | Alarm Controls | x | TRUE | TRUE | AM3300 | AM3300 |  |  |  | Alarm Controls AM3300, Spacer Plate, 1/2 in., 600 Series | Drop down, 1/2 in. spacer plate to be used on Alarm Controls 600 Series single door maglock. | Category Name: Electronic Door Hardware,Category Path:/door-hardware/electronic-door-hardware/¦Category Name: Maglocks,Category Path:/door-hardware/electronic-door-hardware/maglock/¦Category Name: Maglock Parts & Accessories,Category Path:/electronic-door-hardware/maglock/maglock-parts-accessories/¦Category Name: Door Hardware,Category Path:/door-hardware/ | https://cdn11.bigcommerce.com/s-y7rgqxv8v9/products/1453/images/7489/28274__52236.1646378942.1280.1280.png?c=1 |  | https://cbdigitaletl-prod.s3.amazonaws.com/products-pdf/28274_10_AM6375.pdf | 10000 | 38 | 24.7 | 15.77 |  | Hardware | 2 | 0 | Nickel | FALSE | TRUE | TRUE | 0 | 0 | 0 | 0 | Satin Aluminum, Clear Anodized 628/US28 |  |  |  |  | Drop Down | [9 empty] | USA | [104 empty] | 1"W x 9-7/8"L x 1/2"D | [29 empty] | 0 | Each | For 600 Series Single Magnetic Locks | [31 empty] | Limited Lifetime
ASSA-AlarmControls | Alarm Controls | x | TRUE | TRUE | AM3315 | AM3315 |  |  |  | Alarm Controls AM3315, Armature Spacer, 1/4 in., 600 Series Double | Can be used to mount Armature Plate on thick doors | Category Name: Electronic Door Hardware,Category Path:/door-hardware/electronic-door-hardware/¦Category Name: Maglocks,Category Path:/door-hardware/electronic-door-hardware/maglock/¦Category Name: Maglock Parts & Accessories,Category Path:/electronic-door-hardware/maglock/maglock-parts-accessories/¦Category Name: Door Hardware,Category Path:/door-hardware/ | https://cdn11.bigcommerce.com/s-y7rgqxv8v9/products/1454/images/7490/28275__77713.1646378959.1280.1280.png?c=1 |  | https://cbdigitaletl-prod.s3.amazonaws.com/products-pdf/28275_10_AM6375.pdf | 10000 | 41 | 26.65 | 17.015 |  | Hardware | 2 | 0 | Nickel | FALSE | TRUE | TRUE | 0 | 0 | 0 | 0 | Satin Aluminum, Clear Anodized 628/US28 | [14 empty] | USA | [66 empty] | Armature Plate Mounting Hardware | [37 empty] | 1/4" Spacer | [29 empty] | 0 | Each | For all 600 and 1200 Series Magnetic Locks | [31 empty] | Limited Lifetime
SecLockImport | Alarm Controls | x | TRUE | TRUE | AM3332 | ALA300AM3332 |  |  |  | Alarm Controls AM3332, Spacer Plate, 1/2 in., 600 Series Double | Drop down, 1/2 in. spacer plate to be used on Alarm Controls 600 Series double door maglock. | Category Name: Electronic Door Hardware,Category Path:/door-hardware/electronic-door-hardware/¦Category Name: Maglocks,Category Path:/door-hardware/electronic-door-hardware/maglock/¦Category Name: Maglock Parts & Accessories,Category Path:/electronic-door-hardware/maglock/maglock-parts-accessories/¦Category Name: Door Hardware,Category Path:/door-hardware/ | https://cdn11.bigcommerce.com/s-y7rgqxv8v9/products/1455/images/7491/28276__33560.1646379020.1280.1280.png?c=1 |  | https://cbdigitaletl-prod.s3.amazonaws.com/products-pdf/28276_10_AM6375.pdf | 3 | 91 | 73.71 | 49.14 |  | Hardware | 1 | 0 | Nickel | FALSE | TRUE | TRUE | 0 | 0 | 0 | 0 | Satin Aluminum, Clear Anodized 628/US28 |  |  |  |  | Drop Down | [9 empty] | USA | [104 empty] | 1"W x 19-3/4"L x 1/2"D | [29 empty] | 0 | Each | For 600 Series Double Magnetic Locks
ASSA-AlarmControls | Alarm Controls | x | TRUE | TRUE | AM3370 | AM3370 |  |  |  | Alarm Controls AM3370, Z-Bracket, 600 Series | Three piece Z-bracket to be used on Alarm Controls 600 Series single door maglock. | Category Name: Electronic Door Hardware,Category Path:/door-hardware/electronic-door-hardware/¦Category Name: Maglocks,Category Path:/door-hardware/electronic-door-hardware/maglock/¦Category Name: Maglock Parts & Accessories,Category Path:/electronic-door-hardware/maglock/maglock-parts-accessories/¦Category Name: Door Hardware,Category Path:/door-hardware/ | https://cdn11.bigcommerce.com/s-y7rgqxv8v9/products/1456/images/7492/28277__63522.1646379040.1280.1280.png?c=1 |  | https://cbdigitaletl-prod.s3.amazonaws.com/products-pdf/28277_10_AM6375.pdf | 10000 | 111 | 72.15 | 46.065 |  | Hardware | 2 | 0 | Nickel | FALSE | TRUE | TRUE | 0 | 0 | 0 | 0 | Satin Aluminum, Clear Anodized 628/US28 |  |  |  |  | Three Piece |  | Adjustment range: 2" - 2.75" | [7 empty] | USA | [104 empty] | 10"L x 3.5"H | [29 empty] | 0 | Each | For 600 Series Single Magnetic Locks | [31 empty] | Limited Lifetime
SecLockImport | Alarm Controls | x | TRUE | TRUE | AM3375 | ALA300AM3375 |  |  |  | Alarm Controls AM3375, Z-Bracket, 600 Series Double | Three piece Z-bracket to be used on Alarm Controls 600 Series double door maglock. | Category Name: Electronic Door Hardware,Category Path:/door-hardware/electronic-door-hardware/¦Category Name: Maglocks,Category Path:/door-hardware/electronic-door-hardware/maglock/¦Category Name: Maglock Parts & Accessories,Category Path:/electronic-door-hardware/maglock/maglock-parts-accessories/¦Category Name: Door Hardware,Category Path:/door-hardware/ | https://cdn11.bigcommerce.com/s-y7rgqxv8v9/products/1457/images/7493/28278__27816.1646379058.1280.1280.png?c=1 |  | https://cbdigitaletl-prod.s3.amazonaws.com/products-pdf/28278_10_AM6375.pdf | 16 | 220 | 178.2 | 118.8 |  | Hardware | 1 | 0 | Nickel | FALSE | TRUE | TRUE | 0 | 0 | 0 | 0 | Satin Aluminum, Clear Anodized 628/US28 |  |  |  |  | Three Piece | [9 empty] | USA | [134 empty] | 0 | Each | For 600 Series Double Magnetic Locks
ASSA-AlarmControls | Alarm Controls | x | TRUE | TRUE | AM6300 | AM6300 |  |  |  | Alarm Controls AM6300, Spacer Plate, 1/2 in., 1200 Series | Drop down, 1/2 in. spacer plate to be used on Alarm Controls 1200 Series single door maglock. | Category Name: Electronic Door Hardware,Category Path:/door-hardware/electronic-door-hardware/¦Category Name: Maglocks,Category Path:/door-hardware/electronic-door-hardware/maglock/¦Category Name: Maglock Parts & Accessories,Category Path:/electronic-door-hardware/maglock/maglock-parts-accessories/¦Category Name: Door Hardware,Category Path:/door-hardware/ | https://cdn11.bigcommerce.com/s-y7rgqxv8v9/products/1458/images/7494/28279__26023.1646379078.1280.1280.png?c=1 |  | https://cbdigitaletl-prod.s3.amazonaws.com/products-pdf/28279_10_AM6375.pdf | 10000 | 45 | 29.25 | 18.675 |  | Hardware | 2 | 0 | Nickel | FALSE | TRUE | TRUE | 0 | 0 | 0 | 0 | Satin Aluminum, Clear Anodized 628/US28 |  |  |  |  | Drop Down | [9 empty] | USA | [104 empty] | 1-1/2"W x 10-1/2"L x 1/2"D | [29 empty] | 0 | Each | For 1200 Series Single Magnetic Locks | [31 empty] | Limited Lifetime
SecLockImport | Alarm Controls | x | TRUE | TRUE | AM6332 | ALA300AM6332 |  |  |  | Alarm Controls AM6332, Spacer Plate, 1/2 in., 1200 Series Double | Drop down, 1/2 in. spacer plate to be used on Alarm Controls 1200 Series double door maglock. | Category Name: Electronic Door Hardware,Category Path:/door-hardware/electronic-door-hardware/¦Category Name: Maglocks,Category Path:/door-hardware/electronic-door-hardware/maglock/¦Category Name: Maglock Parts & Accessories,Category Path:/electronic-door-hardware/maglock/maglock-parts-accessories/¦Category Name: Door Hardware,Category Path:/door-hardware/ | https://cdn11.bigcommerce.com/s-y7rgqxv8v9/products/1459/images/7495/28280__34640.1646379102.1280.1280.png?c=1 |  | https://cbdigitaletl-prod.s3.amazonaws.com/products-pdf/28280_10_AM6375.pdf | 14 | 93 | 75.33 | 50.22 |  | Hardware | 1 | 0 | Nickel | FALSE | TRUE | TRUE | 0 | 0 | 0 | 0 | Satin Aluminum, Clear Anodized 628/US28 |  |  |  |  | Drop Down | [9 empty] | USA | [104 empty] | 1-1/2"W x 21"L x 1/2"D | [29 empty] | 0 | Each | For 1200 Series Double Magnetic Locks
ASSA-AlarmControls | Alarm Controls | x | TRUE | TRUE | AM6361 | AM6361 |  |  |  | Alarm Controls AM6361, Filler Plate, 1/2 in., 600 and 1200 Series | This is a 1/2 in. filler plate to be used on any of Alarm Controls 600 or 1200 series maglocks. | Category Name: Electronic Door Hardware,Category Path:/door-hardware/electronic-door-hardware/¦Category Name: Maglocks,Category Path:/door-hardware/electronic-door-hardware/maglock/¦Category Name: Maglock Parts & Accessories,Category Path:/electronic-door-hardware/maglock/maglock-parts-accessories/¦Category Name: Door Hardware,Category Path:/door-hardware/ | https://cdn11.bigcommerce.com/s-y7rgqxv8v9/products/1460/images/7496/28281__58012.1646379124.1280.1280.png?c=1 |  | https://cbdigitaletl-prod.s3.amazonaws.com/products-pdf/28281_10_AM6375.pdf | 10000 | 31 | 20.15 | 12.865 |  | Hardware | 2 | 0 | Nickel | FALSE | TRUE | TRUE | 0 | 0 | 0 | 0 | Satin Aluminum, Clear Anodized 628/US28 | [14 empty] | USA | [104 empty] | 3/4"W x 10-1/2"L x 1/2"D | [29 empty] | 0 | Each | For all 600 and 1200 Series Magnetic Locks | [31 empty] | Limited Lifetime
ASSA-AlarmControls | Alarm Controls | x | TRUE | TRUE | AM6370 | AM6370 |  |  |  | Alarm Controls AM6370, Z-Bracket, 1200 Series | Three piece Z-bracket to be used on Alarm Controls 1200 Series single door maglock. | Category Name: Electronic Door Hardware,Category Path:/door-hardware/electronic-door-hardware/¦Category Name: Maglocks,Category Path:/door-hardware/electronic-door-hardware/maglock/¦Category Name: Maglock Parts & Accessories,Category Path:/electronic-door-hardware/maglock/maglock-parts-accessories/¦Category Name: Door Hardware,Category Path:/door-hardware/ | https://cdn11.bigcommerce.com/s-y7rgqxv8v9/products/1461/images/7497/28282__36961.1646379175.1280.1280.png?c=1 |  | https://cbdigitaletl-prod.s3.amazonaws.com/products-pdf/28282_10_AM6375.pdf | 10000 | 177 | 115.05 | 73.455 |  | Hardware | 2 | 0 | Nickel | FALSE | TRUE | TRUE | 0 | 0 | 0 | 0 | Satin Aluminum, Clear Anodized 628/US28 |  |  |  |  | Three Piece |  | Adjustment range: 2.375" - 3.5" | [7 empty] | USA | [104 empty] | 10.625"L x 4.25"H | [29 empty] | 0 | Each | For 1200 Series Single Magnetic Locks | [31 empty] | Limited Lifetime
SecLockImport | Alarm Controls | x | TRUE | TRUE | AM6375 | ALA300AM6375 |  |  |  | Alarm Controls AM6375, Z-Bracket, 1200 Series Double | Three piece Z-bracket to be used on Alarm Controls 1200 Series double door maglock. | Category Name: Electronic Door Hardware,Category Path:/door-hardware/electronic-door-hardware/¦Category Name: Maglocks,Category Path:/door-hardware/electronic-door-hardware/maglock/¦Category Name: Maglock Parts & Accessories,Category Path:/electronic-door-hardware/maglock/maglock-parts-accessories/¦Category Name: Door Hardware,Category Path:/door-hardware/ | https://cdn11.bigcommerce.com/s-y7rgqxv8v9/products/1462/images/7498/28283__70968.1646379203.1280.1280.png?c=1 |  | https://cbdigitaletl-prod.s3.amazonaws.com/products-pdf/28283_10_AM6375.pdf | 11 | 295 | 238.95 | 159.3 |  | Hardware | 1 | 0 | Nickel | FALSE | TRUE | TRUE | 0 | 0 | 0 | 0 | Satin Aluminum, Clear Anodized 628/US28 |  |  |  |  | Three Piece | [9 empty] | USA | [134 empty] | 0 | Each | For 1200 Series Double Magnetic Locks
SecLockImport | Alarm Controls | x | TRUE | TRUE | DE-1 | ALA300DE1 |  |  |  | Alarm Controls DE-1, Delayed Egress Timer | This micro-controller based unit will provide an effective means of securing an exit door while still maintaining egress during an emergency. Pushing the two inch square button an the DE-1 will start the irrevocable exit time. There is a two second nuisance feature requiring the button to be pushed and held before the timer will start. Countdown buzzer and flashing lamp during the timing mode. Alarm will sound with unauthorized door entry. Key switch reset is required to re-lock the door unless field wired for auto re-lock. | Category Name: Electronic Access Control,Category Path:/electronic-access-control/¦Category Name: Push Buttons & Keyswitches,Category Path:/electronic-access-control/push-buttons-keyswitches/ | https://cdn11.bigcommerce.com/s-y7rgqxv8v9/products/1463/images/7499/28284__88811.1646379211.1280.1280.png?c=1 |  | https://cbdigitaletl-prod.s3.amazonaws.com/products-pdf/28284_10_DE-1.pdf | 0 | 285 | 230.85 | 153.9 |  | Hardware | 1 | 0 | Nickel | FALSE | TRUE | TRUE | 0 | 0 | 0 | 0 | Satin Stainless Steel 630/US32D | [23 empty] | LED | PUSH AND HOLD FOR EMERGENCY DOOR RELEASE | 2900 Hz | [10 empty] | 2 seconds | [63 empty] | Stainless Steel | [18 empty] | 3"W x 3"L x 1-1/2"H Enclosure | [29 empty] | 0 | Each | [15 empty] | 12-24 VDC | 10A at 35 VDC or 120 VAC | [15 empty] | Limited Lifetime
SecLockImport | Alarm Controls | x | TRUE | TRUE | EB-1 | ALA300EB1 |  |  |  | Alarm Controls EB-1, 1-1/2 in. Push Button | Single gang request to exit egress station with momentary push button switch that remains active as long as button is depressed. Contact is one N/O pair and one N/C pair. Momentary action switch. | Category Name: Electronic Access Control,Category Path:/electronic-access-control/¦Category Name: Push Buttons & Keyswitches,Category Path:/electronic-access-control/push-buttons-keyswitches/ | https://cdn11.bigcommerce.com/s-y7rgqxv8v9/products/1464/images/7500/28287__35647.1646379237.1280.1280.png?c=1 |  | https://cbdigitaletl-prod.s3.amazonaws.com/products-pdf/28287_10_AM6375.pdf | 6 | 117 | 94.77 | 63.18 |  | Hardware | 1 | 0 | Nickel | FALSE | TRUE | TRUE | 0 | 0 | 0 | 0 | Satin Stainless Steel 630/US32D |  |  | For Access Control Systems, Electro-Magnetic Locks, Exit REX |  | Request to Exit Station |  | 1 Normally Opened/1 Normally Closed Contact Pair | [17 empty] | Exit | [5 empty] | Screw Terminal | [69 empty] | Plastic, Stainless Steel |  |  | -13 to 158 degrees F | [15 empty] | 1-1/2" Diameter Button, 2-3/4"W x 5"H Faceplate |  |  | 2-1/4 in Behind Plate | [8 empty] | UL and CSA certified components | [17 empty] | 0 | Each | [16 empty] | 10 A @ 120 VAC/35 VDC |  |  |  |  | 1
SecLockImport | Alarm Controls | x | TRUE | TRUE | KP-100 | ALA300KP100 |  |  |  | Alarm Controls KP-100A, Self-Contained Digital Keypad | Self-contained digital keypad suitable for residential and commercial installations. Single gang flush mount stainless steel plate with surface mount back box. True 10-digit operation (10 digits plus * and # keys). Capacity up to 1000 user codes, length from 4 to 8 digits. 50 visitor codes, programmable for one time use or with time limit. Fully programmable from the keypad. Programmable passage and false code lockout mode capabilities. Built-in tamper switch. Red, green, and yellow LEDs for status and programming feedback. Fail safe or fail secure capable. Request to Exit (REX) input. | Category Name: Keypads & Card Readers,Category Path:/access-control/keypads-card-readers/ | https://cdn11.bigcommerce.com/s-y7rgqxv8v9/products/1465/images/7501/28288__15872.1646379258.1280.1280.png?c=1 |  | https://cbdigitaletl-prod.s3.amazonaws.com/products-pdf/28288_10_AC_KP-100A_Keypads_Operating_Manual.pdf | 0 | 114 | 92.34 | 61.56 |  | Hardware | 1 | 0 | Nickel | FALSE | TRUE | TRUE | 0 | 0 | 0 | 0 | Satin Stainless Steel 630/US32D |  |  | For Indoor |  | Request to Exit Input | [9 empty] | USA | [73 empty] | Backlit with audible and visible key press | [11 empty] | Steel |  | Flush | -4 to 158 degrees F | [15 empty] | Surface Mount Back Box: 2-13/16"W x 4-5/8"H x 1-7/16"D, Keypad 2-3/4"W x 4-1/2"H x 5/32"D | [29 empty] | 0 | Each |  | Up To 1000 | [5 empty] | 12 VDC- 40mA at rest, 100mA active; 24 VDC- 70mA at rest; 50mA active | [7 empty] | 12-24 VAC/DC | [16 empty] | 3 Years Limited
SecLockImport | Alarm Controls | x | TRUE | TRUE | KP-200 | ALA300KP200 |  |  |  | Alarm Controls KP-200, Self-Contained Digital Keypad | Self-contained digital keypad. KP-200 is vandal resistant and designed for indoor applications. Surface mounted. True 10-digit operation (10 digits plus * and # keys). Capacity up to 100 user codes, length from 4 to 8 digits. Fully programmable from the keypad. Programmable passage and false code lockout mode capabilities. Built-in tamper switch. Red, green, and yellow LEDs for status and programming feedback. Request to Exit (REX) input. Die-cast metal keys with audible and visible key press; Keys are backlit for visibility in dark areas. | Category Name: Electronic Access Control,Category Path:/electronic-access-control/¦Category Name: Keypads & Card Readers,Category Path:/access-control/keypads-card-readers/ | https://cdn11.bigcommerce.com/s-y7rgqxv8v9/products/1466/images/7502/28289__47596.1646379269.1280.1280.png?c=1 |  | https://cbdigitaletl-prod.s3.amazonaws.com/products-pdf/28289_10_AC_KP-200_Keypads_Operating_Manual.pdf | 2 | 268 | 217.08 | 144.72 |  | Hardware | 1 | 0 | Nickel | FALSE | TRUE | TRUE | 0 | 0 | 0 | 0 | Satin Stainless Steel 630/US32D |  |  | For Indoor |  | Request to Exit Input | [9 empty] | USA | [8 empty] | Backlit | [64 empty] | Die-cast, backlit metal keys with audible and visible key press | [5 empty] | Red, green, and yellow LEDs for status and programming feedback | [5 empty] | Steel, Die Cast Keys |  | Surface | -4 to 158 degrees F |  |  |  |  | Keypad Only | [10 empty] | 3-1/5"w x 4-3/4"L x 3/5"D | [29 empty] | 0 | Each |  | Up To 1000 | [5 empty] | 78 mA relay opening; 16 mA at rest | [7 empty] | 12-24 VAC/DC, auto sensing | [16 empty] | 3 Years Limited
ASSA-AlarmControls | Alarm Controls | x | TRUE | TRUE | KP-300 | KP-300 |  |  |  | Alarm Controls KP-300, Self-Contained Digital Keypad | Self-contained, narrow stile digital keypad designed for pedestal/mullion mounting. Vandal resistant and weather resistant with durable metal keys and housing, suitable for indoor and outdoor applications. Narrow stile mullion mount with die cast zinc alloy housing. Narrow stile 10-digit operation (10 digits plus * and # keys). Operates with card only, user code and card, or user code only. Multiple outputs allow control of up to two devices (1000 users on output 1, 100 on output 2). All users can be programmed for card and/or codes at the device. 50 Visitor cards and/or codes can be programmed for one time use or with time limit at the device. Programmable passage and false-code lockout mode capabilities. | Category Name: Electronic Access Control,Category Path:/electronic-access-control/¦Category Name: Keypads & Card Readers,Category Path:/access-control/keypads-card-readers/ | https://cdn11.bigcommerce.com/s-y7rgqxv8v9/products/1467/images/7503/28290__98306.1646379278.1280.1280.png?c=1 |  | https://cbdigitaletl-prod.s3.amazonaws.com/products-pdf/28290_10_AC_KP-300_Keypads_Operating_Manual.pdf | 10000 | 268 | 174.2 | 111.22 |  | Hardware | 2 | 0 | Nickel | FALSE | TRUE | TRUE | 0 | 0 | 0 | 0 | Satin Stainless Steel 630/US32D |  |  | For Indoor or Outdoor | [11 empty] | USA | [8 empty] | Backlit | [57 empty] | Built in tamper switch | [6 empty] | Die-cast, backlit metal keys with audible and visible key press | [5 empty] | Green and yellow LEDs for status and programming feedback | [5 empty] | Steel, Die Cast Keys |  | Surface | -4 to 158 degrees F |  |  |  |  | Keypad, Card or Both | [10 empty] | 7-5/64"H x 1-13/16"W x 1"D | [11 empty] | Conforms to IP65 | [17 empty] | 0 | Each |  | 1000 users on output 1, 100 on output 2 | [5 empty] | 60mA at rest; 95 mA active | [7 empty] | 12 VDC nominal, 11-15 VDC | [16 empty] | 3 Years Limited
SecLockImport | Alarm Controls | x | TRUE | TRUE | REB-1 | ALA300REB1 |  |  |  | Alarm Controls REB-1, 34-1/2 in. Push Bar, 18 in. Armored Door Loop | The Alarm Controls REB-1 is a request to exit push bar. The unit features a low operating force and low profile designed. The push bar is equipped with four SPDT switches for position operation and features a clear anodized aluminum finish. Low operating force, minimal bar travel. Four SPDT switches for positive redundant operation. Field reversible and easily installed on all types of doors. | Category Name: Electronic Access Control,Category Path:/electronic-access-control/¦Category Name: Wires,Category Path:/electronic-access-control/wires/ | https://cdn11.bigcommerce.com/s-y7rgqxv8v9/products/1469/images/7505/28292__63983.1646379300.1280.1280.png?c=1 |  | https://cbdigitaletl-prod.s3.amazonaws.com/products-pdf/28292_10_REB-1_1.pdf;https://cbdigitaletl-prod.s3.amazonaws.com/products-pdf/28292_11_REB-1.pdf | 3 | 213 | 172.53 | 115.02 |  | Hardware | 1 | 0 | Nickel | FALSE | TRUE | TRUE | 0 | 0 | 0 | 0 | Satin Aluminum, Clear Anodized 628/US28 |  |  |  |  | Request to Exit Station | [76 empty] | 18 in Armored Door Loop | [21 empty] | -4 to 158 degrees F | [19 empty] | 34-1/2 in | 2-1/2 in | 2 in | [23 empty] | 0 | Each | [10 empty] | 1.5 A @ 30 VDC | [21 empty] | Limited Lifetime
ASSA-AlarmControls | Alarm Controls | x | TRUE | TRUE | SREX-100 | SREX-100 |  |  |  | Alarm Controls SREX-100, Active Focused Infrared Motion Sensor | Active focused infrared motion sensor is specifically designed for request to exit applications. SREX-100 has an adjustable narrow activation zone and cannot be deceived by objects placed under the door. Narrow activation zone is limited to door handle area (range 28 - 48 in). Designed to eliminate cross-traffic activation. Cannot be deceived by placing objects under door. Immune to thermal changes. Adjustable time delay from 1 - 60 sec. Built-in buzzer, can be silenced if required. | Category Name: Electronic Access Control,Category Path:/electronic-access-control/¦Category Name: Sensors,Category Path:/electronic-access-control/sensors/ | https://cdn11.bigcommerce.com/s-y7rgqxv8v9/products/1471/images/7507/28294__53077.1646379345.1280.1280.png?c=1 |  | https://cbdigitaletl-prod.s3.amazonaws.com/products-pdf/28294_10_TS-60.pdf | 10000 | 189 | 122.85 | 78.435 |  | Hardware | 2 | 0 | Nickel | FALSE | TRUE | TRUE | 0 | 0 | 0 | 0 |  | Black |  |  |  | Active Focused Infrared Request to Exit Station | [31 empty] | Adjustable 1-60 Seconds | [44 empty] | 14 pin connector with 4 ft of cable | [18 empty] | Plastic |  |  | 32 to 120 degrees F | [15 empty] | 3"L x 2.5"H x 6"W | [11 empty] | UL 294, ULC-S319 Listed | [15 empty] | 15 ft |  | 0 | Each | [16 empty] | 1.3 A @ 24 VAC/30 VDC |  | 155mA |  | DPDT | [11 empty] | 3 Years Limited
ASSA-AlarmControls | Alarm Controls | x | TRUE | TRUE | TS-14 | TS-14 |  |  |  | Alarm Controls TS-14, Pneumatic Time Delay, 1-1/2 in. Push Button | The TS-14 request to exit station with pneumatic timer and push button, provides a convenient way to keep the door unlocked for a specified amount of time, allowing for easy entry or egress. The door will relock when the relay time has expired. Pneumatic time delay is adjustable 2-60 sec. Does not require external power for operation. Timer life: up to 1 million operations. | Category Name: Electronic Access Control,Category Path:/electronic-access-control/¦Category Name: Push Buttons & Keyswitches,Category Path:/electronic-access-control/push-buttons-keyswitches/ | https://cdn11.bigcommerce.com/s-y7rgqxv8v9/products/1472/images/7508/28295__35013.1646379362.1280.1280.png?c=1 |  | https://cbdigitaletl-prod.s3.amazonaws.com/products-pdf/28295_10_TS-60.pdf | 10000 | 384 | 249.6 | 159.36 |  | Hardware | 2 | 0 | Nickel | FALSE | TRUE | TRUE | 0 | 0 | 0 | 0 | Satin Stainless Steel 630/US32D |  |  | For Access Control Systems, Electro-Magnetic Locks, Exit REX |  | Pneumatic, Time Delay |  | 1 Normally Opened/1 Normally Closed Contact Pair | [17 empty] | Push to Exit | [5 empty] | Screw Terminal | [5 empty] | Adjustable 2-60 Seconds | [20 empty] | 5" | 2-3/4 in | [22 empty] | Face Plate, Pneumatic Switch | [18 empty] | 302 Stainless Steel |  |  | 15 to 120 degrees F | [15 empty] | 1-1/2" Diameter Button |  |  | 2-1/4 in Behind Plate | [8 empty] | UL 294 Listed | [17 empty] | 0 | Each | [10 empty] | 12-24 VAC/DC | [5 empty] | 10 A @ 120 VAC |  |  |  |  | 1 | [10 empty] | Limited Lifetime
ASSA-AlarmControls | Alarm Controls | x | TRUE | TRUE | TS-17 | TS-17 |  |  |  | Alarm Controls TS-17, Under Counter Release, Panic Station | Single gang panic station with latching push button that remains active or inactive until actuated again. Depressing push button operates switch contacts. Supplied with two keys. Surface mounted push button can be locked in either open or closed position using key. | Category Name: Electronic Access Control,Category Path:/electronic-access-control/¦Category Name: Push Buttons & Keyswitches,Category Path:/electronic-access-control/push-buttons-keyswitches/ | https://cdn11.bigcommerce.com/s-y7rgqxv8v9/products/1473/images/7509/28296__63488.1646379385.1280.1280.png?c=1 |  | https://cbdigitaletl-prod.s3.amazonaws.com/products-pdf/28296_10_TS-60.pdf | 10000 | 241 | 156.65 | 100.015 |  | Hardware | 2 | 0 | Nickel | FALSE | TRUE | TRUE | 0 | 0 | 0 | 0 |  | Black |  | For Access Control Systems, Electro-Magnetic Locks, Exit REX |  | Key Controlled Door Release |  | 1 Normally Opened/1 Normally Closed | [74 empty] | Key Controlled Push Button Switch, Mounting Screws | [6 empty] | 2 | [11 empty] | ABS Plastic |  | Surface | 15 to 120 degrees F | [15 empty] | 1-1/2"H x 3"W x 3"L | [29 empty] | 0 | Each | [10 empty] | 120 VAC/12-24 VDC, 120 A | [5 empty] | 10 A @ 120 VAC/35 VDC |  |  |  | (1) N/O and (1) N/C | 1 | [10 empty] | Limited Lifetime
ASSA-AlarmControls | Alarm Controls | x | TRUE | TRUE | TS-18 | TS-18 |  |  |  | Alarm Controls TS-18, Momentary Release, Panic Station | Single gang panic station with latching push button that remains active or inactive until actuated again. TS-18 with momentary action switch. Surface mounted push button protected with 1 in guard ring. Depressing push button operates switch contacts | Category Name: Electronic Access Control,Category Path:/electronic-access-control/¦Category Name: Push Buttons & Keyswitches,Category Path:/electronic-access-control/push-buttons-keyswitches/ | https://cdn11.bigcommerce.com/s-y7rgqxv8v9/products/1474/images/7510/28297__43739.1646379403.1280.1280.png?c=1 |  | https://cbdigitaletl-prod.s3.amazonaws.com/products-pdf/28297_10_TS-60.pdf | 10000 | 48 | 31.2 | 19.92 |  | Hardware | 2 | 0 | Nickel | FALSE | TRUE | TRUE | 0 | 0 | 0 | 0 |  | Black |  | For Access Control Systems, Electro-Magnetic Locks, Exit REX |  | Door Release | [76 empty] | Face Plate, Collar Ring | [18 empty] | ABS Plastic |  | Surface with 2 Mounting Ears | 15 to 120 degrees F | [15 empty] | 1-1/2"H x 3"W x 3"L | [29 empty] | 0 | Each | [10 empty] | 10A at 35 VDC or 120 VAC | [10 empty] | 1 | [10 empty] | Limited Lifetime
ASSA-AlarmControls | Alarm Controls | x | TRUE | TRUE | TS-2 | TS-2 |  |  |  | Alarm Controls TS-2, SPDT Contact, Push Button | The TS-2 request to exit station, with square push button, provides a convenient way to add authorized access control to a variety of applications. | Category Name: Electronic Access Control,Category Path:/electronic-access-control/¦Category Name: Push Buttons & Keyswitches,Category Path:/electronic-access-control/push-buttons-keyswitches/ | https://cdn11.bigcommerce.com/s-y7rgqxv8v9/products/1475/images/7511/28298__23150.1646379428.1280.1280.png?c=1 |  | https://cbdigitaletl-prod.s3.amazonaws.com/products-pdf/28298_10_TS-60.pdf | 10000 | 64 | 41.6 | 26.56 |  | Hardware | 2 | 0 | Nickel | FALSE | TRUE | TRUE | 0 | 0 | 0 | 0 | Satin Stainless Steel 654 | Green |  | For Access Control Systems, Electro-Magnetic Locks, Exit REX |  | Square Illuminated Button | [19 empty] | Push to Exit | [5 empty] | Screw Terminal | [26 empty] | 5" | 2-3/4 in | [22 empty] | Face Plate | [18 empty] | 430 Stainless Steel |  |  | 15 to 120 degrees F | [15 empty] | 2" Square Button |  |  | 2-1/4 in Behind Plate | [8 empty] | UL 294 Listed | [14 empty] | Momentary |  |  | 0 | Each | [10 empty] | 12-24 VAC/DC | [5 empty] | 10 A @ 35 VDC |  |  |  | SPDT | [11 empty] | Limited Lifetime
SecLockImport | Alarm Controls | x | TRUE | TRUE | TS-2-2T | ALA300TS22T |  |  |  | Alarm Controls TS-2-2T, 2-SPDT Contact, Push Button, Electronic Timer | The request to exit station, with square push button, provides a convenient way to add authorized access control to a variety of applications. Switch mounted on single gang wall plate with 430 stainless steel finish. 2 in green square push button, Illuminated with hi-brightness LED. Button labeled "PUSH TO EXIT" for easy to follow egress instructions. Momentary SPDT action switch. | Category Name: Electronic Access Control,Category Path:/electronic-access-control/¦Category Name: Push Buttons & Keyswitches,Category Path:/electronic-access-control/push-buttons-keyswitches/ | https://cdn11.bigcommerce.com/s-y7rgqxv8v9/products/1476/images/7512/28300__56454.1646379453.1280.1280.png?c=1 |  | https://cbdigitaletl-prod.s3.amazonaws.com/products-pdf/28300_10_TS-60.pdf | 12 | 194 | 157.14 | 104.76 |  | Hardware | 1 | 0 | Nickel | FALSE | TRUE | TRUE | 0 | 0 | 0 | 0 | Satin Stainless Steel 654 | Green |  | For Access Control Systems, Electro-Magnetic Locks, Exit REX |  | Square Illuminated Button with Electronic Timer | [19 empty] | Push to Exit | [5 empty] | Screw Terminal | [26 empty] | 5" | 2-3/4 in | [22 empty] | Face Plate | [18 empty] | 430 Stainless Steel |  |  | 15 to 120 degrees F | [15 empty] | 2" Square Button |  |  | 2-1/4 in Behind Plate | [8 empty] | UL 294 Listed | [17 empty] | 0 | Each | [10 empty] | 12-24 VAC/DC | [5 empty] | 2 A @ 35 VDC |  |  |  | 2 SPDT
SecLockImport | Alarm Controls | x | TRUE | TRUE | TS-60 | ALA300TS60 |  |  |  | Alarm Controls TS-60, Pneumatic Time Delay, Push Button | The TS-60 request to exit station with pneumatic timer and push button, provides a convenient way to keep the door unlocked for a specified amount of time, the door will relock when the relay time has expired. Extra large 2-1/2 in red mushroom push button offers a large target for easy entry or egress. Switch mounted on single gang wall plate with 430 stainless steel finish. 2-1/2 in extra large red mushroom push button. Button engraved "Push to Exit" in white for easy to follow egress instructions. Pneumatic time delay is adjustable 2-60 seconds. | Category Name: Electronic Access Control,Category Path:/electronic-access-control/¦Category Name: Push Buttons & Keyswitches,Category Path:/electronic-access-control/push-buttons-keyswitches/ | https://cdn11.bigcommerce.com/s-y7rgqxv8v9/products/1477/images/7513/28301__72658.1646379483.1280.1280.png?c=1 |  | https://cbdigitaletl-prod.s3.amazonaws.com/products-pdf/28301_10_TS-60.pdf | 0 | 292 | 236.52 | 157.68 |  | Hardware | 1 | 0 | Nickel | FALSE | TRUE | TRUE | 0 | 0 | 0 | 0 | Satin Stainless Steel 654 |  |  | For Access Control Systems, Electro-Magnetic Locks, Exit REX |  | Pneumatic, Time Delay | [19 empty] | Push to Exit | [5 empty] | Screw Terminal | [26 empty] | 5" | 2-3/4 in | [22 empty] | Face Plate, Pneumatic Switch | [18 empty] | 430 Stainless Steel |  |  | 15 to 120 degrees F | [18 empty] | 1-1/4 in Behind Plate | [26 empty] | 0 | Each | [10 empty] | 12-24 VAC/DC | [5 empty] | 10 A @ 120 VAC
ASSA-AlarmControls | Alarm Controls | x | TRUE | TRUE | TS-9 | TS-9 |  |  |  | Alarm Controls TS-9 Request to Exit Station | The single gang, narrow stile TS-9 request to exit station with rectangular push button, provides a convenient way to add authorized access control for a variety of applications. | Category Name: Electronic Access Control,Category Path:/electronic-access-control/¦Category Name: Push Buttons & Keyswitches,Category Path:/electronic-access-control/push-buttons-keyswitches/ | https://cdn11.bigcommerce.com/s-y7rgqxv8v9/products/1478/images/7514/5219__26849.1646379497.1280.1280.png?c=1 |  | https://cbdigitaletl-prod.s3.amazonaws.com/products-pdf/5219_10_Alarm_Controls_TS-9.pdf | 10000 | 86 | 55.9 | 35.69 |  | Hardware | 2 | 0 | Nickel | FALSE | TRUE | TRUE | 0 | 0 | 0 | 0 | Satin Stainless Steel 630/US32D |  |  |  |  | Pushbutton | [18 empty] | LED | Push to Exit | [32 empty] | 5" | 1-3/4" | [44 empty] | 13 to 158 degrees F | [5 empty] | Momentary (MOM) | [9 empty] | Button: 5/8"H x 7/8"W |  |  | 1-1/4" Switch depth behind plate | [8 empty] | UL 294 Listed | [14 empty] | Momentary DPDT action |  |  | 0 | Each | [10 empty] | 12-24 VAC/DC | [9 empty] | DPDT | [11 empty] | Limited Lifetime
ASSA-AlarmControls | Alarm Controls | DL | TRUE | TRUE | DL-1 | DL-1 |  |  | Attribute_Duty Weight/Class | Alarm Controls DL, 18 in. Armored Door Loop | 18 in armored door loop used to transfer low-voltage electrical current from the door frame to the door. Mounting hardware included. Standard duty door loop includes white and brown plastic end caps, heavy duty door loop includes aluminum alloy end caps. Steel jacket resists abrasion and damage. | Category Name: Electronic Access Control,Category Path:/electronic-access-control/¦Category Name: Wires,Category Path:/electronic-access-control/wires/ | https://cdn11.bigcommerce.com/s-y7rgqxv8v9/products/1543/images/7580/28285__50817.1646380853.1280.1280.png?c=1 | https://cdn11.bigcommerce.com/s-y7rgqxv8v9/products/1543/images/7581/28285__00511.1646380854.1280.1280.png?c=1 | https://cbdigitaletl-prod.s3.amazonaws.com/products-pdf/28285_10_Alarm_Controls_Full_Size_Catalog_partialDL.pdf | 10000 | 24 | 15.6 | 9.96 | FALSE | Hardware | 2 | 0 | Nickel | FALSE | TRUE | TRUE | 0 | [7 empty] | Standard Duty |  |  | Transfer low-voltage electrical current | [7 empty] | China | [66 empty] | Endcaps, Mounting Hardware | [18 empty] | Steel | Door frame to door | [21 empty] | 18 in | [25 empty] | 0 | Each | [32 empty] | Limited Lifetime
ASSA-AlarmControls | Alarm Controls | DL | FALSE |  | DL-2 | DL-2 |  |  | Attribute_Duty Weight/Class | Alarm Controls DL, 18 in. Armored Door Loop | 18 in armored door loop used to transfer low-voltage electrical current from the door frame to the door. Mounting hardware included. Standard duty door loop includes white and brown plastic end caps, heavy duty door loop includes aluminum alloy end caps. Steel jacket resists abrasion and damage. | Category Name: Electronic Access Control,Category Path:/electronic-access-control/¦Category Name: Wires,Category Path:/electronic-access-control/wires/ |  | https://cdn11.bigcommerce.com/s-y7rgqxv8v9/products/1543/images/7582/28286__64573.1646380854.1280.1280.png?c=1 |  | 10000 | 31 | 20.15 | 12.865 | FALSE | Hardware | 2 |  | Nickel | FALSE | TRUE | TRUE | 0 | [7 empty] | Heavy Duty |  |  | Transfer low-voltage electrical current | [7 empty] | China | [66 empty] | Endcaps, Mounting Hardware | [18 empty] | Steel | Door frame to door | [21 empty] | 18 in | [25 empty] | 0 | Each | [32 empty] | Limited Lifetime
ASSA-AlarmControls | Alarm Controls | x | TRUE | TRUE | AM3370C | AM3370C |  |  |  | Alarm Controls AM3370, Z-Bracket w/ Dress Cover, 600 Series | Three piece Z-bracket to be used on Alarm Controls 600 Series single door maglock. | Category Name: Door Hardware,Category Path:/door-hardware/¦Category Name: Electronic Door Hardware,Category Path:/door-hardware/electronic-door-hardware/¦Category Name: Maglocks,Category Path:/door-hardware/electronic-door-hardware/maglock/¦Category Name: Maglock Parts & Accessories,Category Path:/electronic-door-hardware/maglock/maglock-parts-accessories/ | https://cdn11.bigcommerce.com/s-y7rgqxv8v9/products/6732/images/190886/ala300am3370c__36174.1679434144.1280.1280.jpg?c=1 |  | https://bigc-products.s3.amazonaws.com/Alarm_Controls_Catalog_Brackets.pdf | 10000 | 154 | 100.1 | 63.91 |  | Hardware | 2 | 0 | Nickel | FALSE | TRUE | TRUE | 0 | 0 | 0 | 0 | Satin Aluminum, Clear Anodized 628/US28 |  |  |  |  | Three Piece |  | Adjustment range: 2" - 2.75" | [7 empty] | USA | [104 empty] | 10"L x 3.5"H | [29 empty] | 0 | Each | For 600 Series Single Magnetic Locks | [31 empty] | Limited Lifetime
ASSA-AlarmControls | Alarm Controls | x | TRUE | TRUE | AM6370C | AM6370C |  |  |  | Alarm Controls AM6370, Z-Bracket w/ Dress Cover, 1200 Series | Three piece Z-bracket to be used on Alarm Controls 1200 Series single door maglock. | Category Name: Door Hardware,Category Path:/door-hardware/¦Category Name: Electronic Door Hardware,Category Path:/door-hardware/electronic-door-hardware/¦Category Name: Maglocks,Category Path:/door-hardware/electronic-door-hardware/maglock/¦Category Name: Maglock Parts & Accessories,Category Path:/electronic-door-hardware/maglock/maglock-parts-accessories/ | https://cdn11.bigcommerce.com/s-y7rgqxv8v9/products/6733/images/190887/ala300am3370c__67981.1679434163.1280.1280.jpg?c=1 |  | https://bigc-products.s3.amazonaws.com/Alarm_Controls_Catalog_Brackets.pdf | 10000 | 215 | 139.75 | 89.225 |  | Hardware | 2 | 0 | Nickel | FALSE | TRUE | TRUE | 0 | 0 | 0 | 0 | Satin Aluminum, Clear Anodized 628/US28 |  |  |  |  | Three Piece |  | Adjustment range: 2.375" - 3.5" | [7 empty] | USA | [104 empty] | 10.625"L x 4.25"H | [29 empty] | 0 | Each | For 1200 Series Single Magnetic Locks | [31 empty] | Limited Lifetime
ASSA-AlarmControls | Alarm Controls | x | TRUE | TRUE | KP-400 | KP-400 |  |  |  | Alarm Controls KP-400, Self-Contained Digital Keypad | Self-contained digital keypad. Vandal resistant and weather resistant with durable backlit metal keys, housing, and back box; designed for indoor and outdoor applications. | Category Name: Electronic Access Control,Category Path:/electronic-access-control/¦Category Name: Keypads & Card Readers,Category Path:/access-control/keypads-card-readers/ | https://cdn11.bigcommerce.com/s-y7rgqxv8v9/products/6734/images/190888/ala300kp400__57294.1679434185.1280.1280.jpg?c=1 |  | https://bigc-products.s3.amazonaws.com/Alarm_Controls_Catalog_KP-400.pdf;https://bigc-products.s3.amazonaws.com/KP-400_Keypads_Operating_Manual.pdf | 10000 | 271 | 176.15 | 112.465 |  | Hardware | 2 | 0 | Nickel | FALSE | TRUE | TRUE | 1 | 0 | 0 | 0 | Satin Stainless Steel 630/US32D |  |  | For Indoor or Outdoor | [11 empty] | USA | [8 empty] | Backlit | [57 empty] | Built in tamper switch | [6 empty] | Die-cast, backlit metal keys with audible and visible key press | [5 empty] | Red, green and yellow LEDs for status and programming feedback | [5 empty] | Steel, Die Cast Keys |  | Surface | -4 to 158 degrees F |  |  |  |  | Keypad Only | [10 empty] | 3-1/8" W x 4-1/2" L x 1-3/4" to 2-1/2" D | [11 empty] | Conforms to IP66 | [17 empty] | 0 | Each |  | 100 users on output 1, 10 on output 2 | [5 empty] | 12VDC; 10 mA at rest, 100mA active; 24VDC: 22 mA at rest, 120 mA active | [7 empty] | 12 or 24 VAC or VDC, auto sensing | [16 empty] | 3 Years Limited
ASSA-AlarmControls | Alarm Controls | x | TRUE | TRUE | TS-2-2 | TS-2-2 |  |  |  | Alarm Controls TS-2-2, DPDT Contact, Push Button | The TS-2 request to exit station, with square push button, provides a convenient way to add authorized access control to a variety of applications. | Category Name: Electronic Access Control,Category Path:/electronic-access-control/¦Category Name: Push Buttons & Keyswitches,Category Path:/electronic-access-control/push-buttons-keyswitches/ | https://cdn11.bigcommerce.com/s-y7rgqxv8v9/products/6735/images/190889/ala300ts2t__73142.1679434209.1280.1280.jpg?c=1 |  | https://bigc-products.s3.amazonaws.com/Alarm_Controls_Catalog_TS-2.pdf | 10000 | 86 | 55.9 | 35.69 |  | Hardware | 2 | 0 | Nickel | FALSE | TRUE | TRUE | 0 | 0 | 0 | 0 | Satin Stainless Steel 654 | Green |  | For Access Control Systems, Electro-Magnetic Locks, Exit REX |  | Square Illuminated Button | [19 empty] | Push to Exit | [5 empty] | Screw Terminal | [26 empty] | 5" | 2-3/4 in | [22 empty] | Face Plate | [18 empty] | 430 Stainless Steel |  |  | 15 to 120 degrees F | [15 empty] | 2" Square Button |  |  | 2-1/4 in Behind Plate | [8 empty] | UL 294 Listed | [14 empty] | Momentary |  |  | 0 | Each | [10 empty] | 12-24 VAC/DC | [5 empty] | 10 A @ 35 VDC |  |  |  | DPDT | [11 empty] | Limited Lifetime
ASSA-AlarmControls | Alarm Controls | x | TRUE | TRUE | TS-2T | TS-2T |  |  |  | Alarm Controls TS-2T, SPDT Contact, Push Button, Electronic Timer | The TS-2T request to exit station with electronic timer and square push button, provides a convenient way to keep the door unlocked for a specified amount of time, allowing for easy entry or egress. The door will relock when the relay time has expired. | Category Name: Electronic Access Control,Category Path:/electronic-access-control/¦Category Name: Push Buttons & Keyswitches,Category Path:/electronic-access-control/push-buttons-keyswitches/ | https://cdn11.bigcommerce.com/s-y7rgqxv8v9/products/6736/images/190890/ala300ts22t__83424.1679434220.1280.1280.jpg?c=1 |  | https://bigc-products.s3.amazonaws.com/Alarm_Controls_Catalog_TS-2T.pdf | 10000 | 164 | 106.6 | 68.06 |  | Hardware | 2 | 0 | Nickel | FALSE | TRUE | TRUE | 0 | 0 | 0 | 0 | Satin Stainless Steel 654 | Green |  | For Access Control Systems, Electro-Magnetic Locks, Exit REX |  | Square Illuminated Button with Electronic Timer | [19 empty] | Push to Exit | [5 empty] | Screw Terminal | [26 empty] | 5" | 2-3/4 in | [22 empty] | Face Plate | [18 empty] | 430 Stainless Steel |  |  | 15 to 120 degrees F | [15 empty] | 2" Square Button |  |  | 2-1/4 in Behind Plate | [8 empty] | UL 294 Listed | [17 empty] | 0 | Each | [10 empty] | 12-24 VAC/DC | [5 empty] | 10 A @ 35 VDC |  |  |  | SPDT | [11 empty] | Limited Lifetime
ASSA-AlarmControls | Alarm Controls | AC NTS | TRUE | TRUE | NTS-1 | NTS-1 |  |  | Attribute_Size | Alarm Controls NTS, No Touch Sensor, Dual Color LED | The NTS No Touch Request to Exit Station uses wireless sensors to reliably allow safe egress or to activate a device with the simple wave of a hand. Designed to reduce the risk of contamination for sensitive applications including: bathrooms, hospitals, labs, schools and offices. IR sensor detection range up to approximately 4". Dual color LED, red/green indicate active/inactive status. Time delay settable from 1 to 35 seconds. Weather & vandal resistant face plate. SPDT relay rated 2 A @ 30 VAC/VDC. | Category Name: Electronic Access Control,Category Path:/electronic-access-control/¦Category Name: Push Buttons & Keyswitches,Category Path:/electronic-access-control/push-buttons-keyswitches/ | https://cdn11.bigcommerce.com/s-y7rgqxv8v9/products/6737/images/190891/ala300nts1__20141.1679434233.1280.1280.jpg?c=1 | https://cdn11.bigcommerce.com/s-y7rgqxv8v9/products/6737/images/190892/ala300nts1__90153.1679434234.1280.1280.jpg?c=1 | https://bigc-products.s3.amazonaws.com/Alarm_Controls_Full_Size_Catalog_NTS.pdf;https://bigc-products.s3.amazonaws.com/NTS Series Sell Sheet.pdf | 10000 | 119 | 77.35 | 49.385 | FALSE | Hardware | 2 | 0 | Nickel | FALSE | TRUE | TRUE | 0 |  |  |  | Satin Stainless Steel 630/US32D |  |  |  |  | No Touch | [19 empty] | "Wave to Open" | [11 empty] | Settable for 1-35 seconds | [63 empty] | Stainless Steel |  | Surface | -13 to 131 degrees F | [15 empty] | Single gang wall plate (4.5"H x 2.75"W) | [29 empty] | 0 | Each | [10 empty] | 12/24 VDC | [6 empty] | 2A at 30VDC/VAC |  |  | SPDT | 1 | [10 empty] | 3 Years Limited
ASSA-AlarmControls | Alarm Controls | AC NTS | FALSE |  | NTS-2 | NTS-2 |  |  | Attribute_Size | Alarm Controls NTS, No Touch Sensor, Dual Color LED | The NTS No Touch Request to Exit Station uses wireless sensors to reliably allow safe egress or to activate a device with the simple wave of a hand. Designed to reduce the risk of contamination for sensitive applications including: bathrooms, hospitals, labs, schools and offices. IR sensor detection range up to approximately 4". Dual color LED, red/green indicate active/inactive status. Time delay settable from 1 to 35 seconds. Weather & vandal resistant face plate. SPDT relay rated 2 A @ 30 VAC/VDC. | Category Name: Electronic Access Control,Category Path:/electronic-access-control/¦Category Name: Push Buttons & Keyswitches,Category Path:/electronic-access-control/push-buttons-keyswitches/ |  | https://cdn11.bigcommerce.com/s-y7rgqxv8v9/products/6737/images/190893/ala_nts2__74727.1679434234.1280.1280.jpg?c=1 |  | 10000 | 152 | 98.8 | 63.08 | FALSE | Hardware | 2 |  | Nickel | FALSE | TRUE | TRUE | 0 |  |  |  | Satin Stainless Steel 630/US32D |  |  |  |  | No Touch | [19 empty] | "Wave to Open" | [11 empty] | Settable for 1-35 seconds | [63 empty] | Stainless Steel |  | Surface | -13 to 131 degrees F | [15 empty] | Double gang wall plate (4.5"H x 4.5"W) | [29 empty] | 0 | Each | [10 empty] | 12/24 VDC | [6 empty] | 2A at 30VDC/VAC |  |  | SPDT | 1 | [10 empty] | 3 Years Limited
ASSA-AlarmControls | Alarm Controls | AC NTS | FALSE |  | NTS-3 | NTS-3 |  |  | Attribute_Size | Alarm Controls NTS, No Touch Sensor, Dual Color LED | The NTS No Touch Request to Exit Station uses wireless sensors to reliably allow safe egress or to activate a device with the simple wave of a hand. Designed to reduce the risk of contamination for sensitive applications including: bathrooms, hospitals, labs, schools and offices. IR sensor detection range up to approximately 4". Dual color LED, red/green indicate active/inactive status. Time delay settable from 1 to 35 seconds. Weather & vandal resistant face plate. SPDT relay rated 2 A @ 30 VAC/VDC. | Category Name: Electronic Access Control,Category Path:/electronic-access-control/¦Category Name: Push Buttons & Keyswitches,Category Path:/electronic-access-control/push-buttons-keyswitches/ |  | https://cdn11.bigcommerce.com/s-y7rgqxv8v9/products/6737/images/190894/alantb3__86890.1679434235.1280.1280.jpg?c=1 |  | 10000 | 152 | 98.8 | 63.08 | FALSE | Hardware | 2 |  | Nickel | FALSE | TRUE | TRUE | 0 |  |  |  | Satin Stainless Steel 630/US32D |  |  |  |  | No Touch | [19 empty] | "Wave to Open" | [11 empty] | Settable for 1-35 seconds | [63 empty] | Stainless Steel |  | Surface | -13 to 131 degrees F | [15 empty] | Narrow stile wall plate (4.5"H x 1.75"W) | [29 empty] | 0 | Each | [10 empty] | 12/24 VDC | [6 empty] | 2A at 30VDC/VAC |  |  | SPDT | 1 | [10 empty] | 3 Years Limited
ASSA-AlarmControls | Alarm Controls | AC NTB | TRUE | TRUE | NTB-1 | NTB-1 |  |  | Attribute_Size;Attribute_Button Text | Alarm Controls NTB, Battery Operated No Touch Sensor, Dual Color LED | The battery powered NTB No Touch Request to Exit Station uses infrared sensors to reliably allow safe egress or to activate a device with a simple hand presentation. IR sensor detection range up to approximately 4". Dual color LED, red/green indicate active/inactive status. Time delay settable from 1 to 35 seconds. Weather & vandal resistant face plate. | Category Name: Electronic Access Control,Category Path:/electronic-access-control/¦Category Name: Push Buttons & Keyswitches,Category Path:/electronic-access-control/push-buttons-keyswitches/ | https://cdn11.bigcommerce.com/s-y7rgqxv8v9/products/6738/images/190895/alantb1__76271.1679434251.1280.1280.jpg?c=1 | https://cdn11.bigcommerce.com/s-y7rgqxv8v9/products/6738/images/190896/alantb1__24569.1679434252.1280.1280.jpg?c=1 | https://bigc-products.s3.amazonaws.com/Alarm_Controls_Full_Size_Catalog_NTB.pdf | 10000 | 154 | 100.1 | 63.91 | FALSE | Hardware | 2 | 0 | Nickel | FALSE | TRUE | TRUE | 0 |  |  |  | Satin Stainless Steel 630/US32D |  | Designed to work in product configurations with and without auto operator |  |  | No Touch | [12 empty] | 2 AA alkaline batteries (included) | [6 empty] | "Wave to Open" | [11 empty] | Settable for 1-10 seconds | [63 empty] | Stainless Steel |  | Surface | -13 to 131 degrees F | [15 empty] | Single gang wall plate (4.5"H x 2.75"W) | [11 empty] | CE Certified, UL294 Listed, RoHS Certified | [17 empty] | 0 | Each | Swinging and sliding door applications | [9 empty] | 12/24 VDC Optional | [6 empty] | 2A at 30VDC/VAC |  |  | DPDT | 1 | [10 empty] | 3 Years Limited
ASSA-AlarmControls | Alarm Controls | AC NTB | FALSE |  | NTB-1A | NTB-1A |  |  | Attribute_Size;Attribute_Button Text | Alarm Controls NTB, Battery Operated No Touch Sensor, Dual Color LED | The battery powered NTB No Touch Request to Exit Station uses infrared sensors to reliably allow safe egress or to activate a device with a simple hand presentation. IR sensor detection range up to approximately 4". Dual color LED, red/green indicate active/inactive status. Time delay settable from 1 to 35 seconds. Weather & vandal resistant face plate. | Category Name: Electronic Access Control,Category Path:/electronic-access-control/¦Category Name: Push Buttons & Keyswitches,Category Path:/electronic-access-control/push-buttons-keyswitches/ |  | https://cdn11.bigcommerce.com/s-y7rgqxv8v9/products/6738/images/190897/alantb1a__73820.1679434252.1280.1280.jpg?c=1 |  | 10000 | 154 | 100.1 | 63.91 | FALSE | Hardware | 2 |  | Nickel | FALSE | TRUE | TRUE | 0 |  |  |  | Satin Stainless Steel 630/US32D |  | Designed to work in product configurations with and without auto operator |  |  | No Touch | [12 empty] | 2 AA alkaline batteries (included) | [6 empty] | "Wave to Open" & ADA Symbol | [11 empty] | Settable for 1-10 seconds | [63 empty] | Stainless Steel |  | Surface | -13 to 131 degrees F | [15 empty] | Single gang wall plate (4.5"H x 2.75"W) | [11 empty] | CE Certified, UL294 Listed, RoHS Certified | [17 empty] | 0 | Each | Swinging and sliding door applications | [9 empty] | 12/24 VDC Optional | [6 empty] | 2A at 30VDC/VAC |  |  | DPDT | 1 | [10 empty] | 3 Years Limited
ASSA-AlarmControls | Alarm Controls | AC NTB | FALSE |  | NTB-2 | NTB-2 |  |  | Attribute_Size;Attribute_Button Text | Alarm Controls NTB, Battery Operated No Touch Sensor, Dual Color LED | The battery powered NTB No Touch Request to Exit Station uses infrared sensors to reliably allow safe egress or to activate a device with a simple hand presentation. IR sensor detection range up to approximately 4". Dual color LED, red/green indicate active/inactive status. Time delay settable from 1 to 35 seconds. Weather & vandal resistant face plate. | Category Name: Electronic Access Control,Category Path:/electronic-access-control/¦Category Name: Push Buttons & Keyswitches,Category Path:/electronic-access-control/push-buttons-keyswitches/ |  | https://cdn11.bigcommerce.com/s-y7rgqxv8v9/products/6738/images/190898/alantb2__48771.1679434252.1280.1280.jpg?c=1 |  | 10000 | 179 | 116.35 | 74.285 | FALSE | Hardware | 2 |  | Nickel | FALSE | TRUE | TRUE | 0 |  |  |  | Satin Stainless Steel 630/US32D |  | Designed to work in product configurations with and without auto operator |  |  | No Touch | [12 empty] | 2 AA alkaline batteries (included) | [6 empty] | "Wave to Open" | [11 empty] | Settable for 1-10 seconds | [63 empty] | Stainless Steel |  | Surface | -13 to 131 degrees F | [15 empty] | Double gang wall plate (4.5"H x 4.5"W) | [11 empty] | CE Certified, UL294 Listed, RoHS Certified | [17 empty] | 0 | Each | Swinging and sliding door applications | [9 empty] | 12/24 VDC Optional | [6 empty] | 2A at 30VDC/VAC |  |  | DPDT | 1 | [10 empty] | 3 Years Limited
ASSA-AlarmControls | Alarm Controls | AC NTB | FALSE |  | NTB-3 | NTB-3 |  |  | Attribute_Size;Attribute_Button Text | Alarm Controls NTB, Battery Operated No Touch Sensor, Dual Color LED | The battery powered NTB No Touch Request to Exit Station uses infrared sensors to reliably allow safe egress or to activate a device with a simple hand presentation. IR sensor detection range up to approximately 4". Dual color LED, red/green indicate active/inactive status. Time delay settable from 1 to 35 seconds. Weather & vandal resistant face plate. | Category Name: Electronic Access Control,Category Path:/electronic-access-control/¦Category Name: Push Buttons & Keyswitches,Category Path:/electronic-access-control/push-buttons-keyswitches/ |  | https://cdn11.bigcommerce.com/s-y7rgqxv8v9/products/6738/images/190899/alantb3__37044.1679434253.1280.1280.jpg?c=1 |  | 10000 | 183 | 118.95 | 75.945 | FALSE | Hardware | 2 |  | Nickel | FALSE | TRUE | TRUE | 0 |  |  |  | Satin Stainless Steel 630/US32D |  | Designed to work in product configurations with and without auto operator |  |  | No Touch | [12 empty] | 2 AA alkaline batteries (included) | [6 empty] | "Wave to Open" | [11 empty] | Settable for 1-10 seconds | [63 empty] | Stainless Steel |  | Surface | -13 to 131 degrees F | [15 empty] | Narrow stile wall plate (4.5"H x 1.75"W) | [11 empty] | CE Certified, UL294 Listed, RoHS Certified | [17 empty] | 0 | Each | Swinging and sliding door applications | [9 empty] | 12/24 VDC Optional | [6 empty] | 2A at 30VDC/VAC |  |  | DPDT | 1 | [10 empty] | 3 Years Limited
ASSA-AlarmControls | Alarm Controls | AC RT | TRUE | TRUE | RT-1 | RT-1 |  |  | Attribute_Includes | Alarm Controls RT Series, Wireless Transmitters and Receivers | Wireless remote transmitters allow access control for up to three doors from one device. Ideal for front desk/reception applications or hard-to-wire locations. Designed to work with magnetic locks, electric strikes, keypads, gate operators and door operators. Kit includes one receiver, two transmitters with mount and keychain. Transmitter can be mounted under a desk on a wall. 12" antenna with up to a 300' range. The receiver can be controlled by up to 30 transmitters. Rolling code; more than one billion code combinations. Built-in five second delay on release. | Category Name: Electronic Access Control,Category Path:/electronic-access-control/¦Category Name: Transmitters & Receivers,Category Path:/electronic-access-control/transmitters-receivers/ | https://cdn11.bigcommerce.com/s-y7rgqxv8v9/products/6739/images/190900/ala300rt1__95775.1679434276.1280.1280.jpg?c=1 | https://cdn11.bigcommerce.com/s-y7rgqxv8v9/products/6739/images/190901/ala300rt1__51821.1679434277.1280.1280.jpg?c=1 | https://bigc-products.s3.amazonaws.com/Alarm_Controls_Catalog_RT.pdf | 10000 | 119 | 77.35 | 49.385 | FALSE | Hardware | 2 | 0 | Nickel | FALSE | TRUE | TRUE | 0 |  |  |  |  | Black |  |  |  | Transmitters & Receivers | Wireless | [30 empty] | 5 second (receiver) | [44 empty] | (2) Transmitters, (1) Receiver | [18 empty] | Plastic |  |  | -4 to 140 degrees F | [15 empty] | 2-1/2"L x 1-1/4"W x 3/4"D | [11 empty] | CE Certified, RoHS Compliant | [15 empty] | 300 ft |  | 0 | Each | [10 empty] | 12-24 VAC/DC | [5 empty] | 1 A @ 120 VAC 30 VDC |  | 50mA |  | SPDT | [11 empty] | Limited Lifetime
ASSA-AlarmControls | Alarm Controls | AC RT | FALSE |  | RT-1T | RT-1T |  |  | Attribute_Includes | Alarm Controls RT Series, Wireless Transmitters and Receivers | Wireless remote transmitters allow access control for up to three doors from one device. Ideal for front desk/reception applications or hard-to-wire locations. Designed to work with magnetic locks, electric strikes, keypads, gate operators and door operators. Kit includes one receiver, two transmitters with mount and keychain. Transmitter can be mounted under a desk on a wall. 12" antenna with up to a 300' range. The receiver can be controlled by up to 30 transmitters. Rolling code; more than one billion code combinations. Built-in five second delay on release. | Category Name: Electronic Access Control,Category Path:/electronic-access-control/¦Category Name: Transmitters & Receivers,Category Path:/electronic-access-control/transmitters-receivers/ |  | https://cdn11.bigcommerce.com/s-y7rgqxv8v9/products/6739/images/190902/ala300rt1t__52469.1679434277.1280.1280.jpg?c=1 |  | 10000 | 36 | 23.4 | 14.94 | FALSE | Hardware | 2 |  | Nickel | FALSE | TRUE | TRUE | 0 |  |  |  |  | Black |  |  |  | Transmitters & Receivers | Wireless | [30 empty] | 5 second (receiver) | [44 empty] | (1) Transmitter | [18 empty] | Plastic |  |  | -4 to 140 degrees F | [15 empty] | 2-1/2"L x 1-1/4"W x 3/4"D | [11 empty] | CE Certified, RoHS Compliant | [15 empty] | 300 ft |  | 0 | Each | [10 empty] | 12-24 VAC/DC | [5 empty] | 1 A @ 120 VAC 30 VDC |  | 50mA |  | SPDT | [11 empty] | Limited Lifetime
ASSA-AlarmControls | Alarm Controls | AC RT | FALSE |  | RT-3 | RT-3 |  |  | Attribute_Includes | Alarm Controls RT Series, Wireless Transmitters and Receivers | Wireless remote transmitters allow access control for up to three doors from one device. Ideal for front desk/reception applications or hard-to-wire locations. Designed to work with magnetic locks, electric strikes, keypads, gate operators and door operators. Kit includes one receiver, two transmitters with mount and keychain. Transmitter can be mounted under a desk on a wall. 12" antenna with up to a 300' range. The receiver can be controlled by up to 30 transmitters. Rolling code; more than one billion code combinations. Built-in five second delay on release. | Category Name: Electronic Access Control,Category Path:/electronic-access-control/¦Category Name: Transmitters & Receivers,Category Path:/electronic-access-control/transmitters-receivers/ |  | https://cdn11.bigcommerce.com/s-y7rgqxv8v9/products/6739/images/190903/rt3__03549.1679434277.1280.1280.jpg?c=1 |  | 10000 | 185 | 120.25 | 76.775 | FALSE | Hardware | 2 |  | Nickel | FALSE | TRUE | TRUE | 0 |  |  |  |  | Black |  |  |  | Transmitters & Receivers | Wireless | [30 empty] | 5 second (receiver) | [44 empty] | (1) Transmitter, (3) Receivers | [18 empty] | Plastic |  |  | -4 to 140 degrees F | [15 empty] | 2-1/2"L x 1-1/4"W x 3/4"D | [11 empty] | CE Certified, RoHS Compliant | [15 empty] | 300 ft |  | 0 | Each | [10 empty] | 12-24 VAC/DC | [5 empty] | 1 A @ 120 VAC 30 VDC |  | 50mA |  | SPDT | [11 empty] | Limited Lifetime